## Type - Green Walls
June 2020 Edition - IGNITION NBS evidence base
NBS Type | Green walls | Vegetation growing on or against a vertical surface (Staffordshire University Green Wall Centre).
Alternative terms or sub-terms: Green walls can be split into a variety of different classifications including 'green façades', where climbing plants are grown up or hang down from the bottom or top of a building, and 'living walls' where vegetation is actually planted into the structure of the wall itself using a modular or mat structure. | Green façades | Traditional ivy or other climbing plans and vines. Can include a trellis, frames, cables, ropes and meshes to support the climbers. Self-attaching climber utilises the substrate of the façade for support and sometimes nutrition.
| Bio-responsive/Bio reactor façade | Glass panelled photo-bioreactors containing a growing medium of micro-algae. Closed loop system. Fully integrated with the building services. Generates renewable energy from algal biomass and solar thermal heat.
| Living wall | Living walls are created by attaching growing media to the vertical wall, and this relatively new technique is classified as ‘continuous living walls’ or ‘modular living walls’. Constructed with planter boxes or felt; these do not require the plants to be climbing, they often need to be irrigated. Plants for intensive green roofs are frequently suitable for these systems. The greenery is often planted in a growth medium consisting of soil, stone, or water.The walls have living plants in them, so they usually feature built-in irrigation systems.
| Living walls: Vegetated mats and felt systems | A subset of living walls - built using mat or felt systems which provides pockets for plug plants to be grown through. Felt fabric based pocket green wallsystem.
| Living walls: Modular | A subset of living walls - These often consist of modules fixed against a wall that contain soil or media for the plants to grow in. These often require irrigation systems and may need professional installation and maintenance.
| Vertical greening system | Structures that allow vegetation to spread over a building facade or interior wall.
| Hydroponic green walls | Another name for a living wall. In a hydroponic system, an inert growing medium is provided to which the plants physically anchor, such as a horticultural foam, a mineral fibre or a felt mat. These materials can act as a water retentive sponge, although the more they soak up the heavier the system becomes. The hydroponic system means that there is no structural decay of the growing medium, no salt build up from fertilisers and nutrients are supplied in a precise and controlled manner.
| Green screen | Thin grid or mesh generally covered with a densly woven climber such as ivy. Also referred to as green hoardings.
| Hedges | A row of bushes or small trees, usually along the edge of a garden, field, or road.

## Evidence Profile
June 2020 Edition - IGNITION NBS evidence base
Benefit | No. of evidence items | Evidence item % | No. of evidence sources
Air quality | 26 | 13.54% | 16
Carbon | 7 | 3.646% | 3
Water quantity | 5 | 2.604% | 2
Water quality | 18 | 9.375% | 4
Temperature | 45 | 23.44% | 20
Energy use | 28 | 14.58% | 18
Health and wellbeing | 14 | 7.292% | 12
Noise | 10 | 5.208% | 8
Land and property value | 11 | 5.729% | 9
Amenity | 2 | 1.042% | 2
Biodiversity | 14 | 7.292% | 9
Local economic growth | 12 | 6.25% | 8
Total | 192 |  | 111

## Summary
June 2020 Edition - IGNITION NBS evidence base
Benefit | No. of evidence sources | Physical flow | Living wall | Green façade | Green screen or hedge | Unit | Comment | * Based only on one study
Air quality | 16 | All pollutants | <5%* |  | 22%* [Rng.15-61%] | % Reduction in ambient pollutant concentrations nearby or behind the hedge | The green walls figures are based only on one study and relate to city scale benefits.
|  | Nitrogen Dioxide | 18-35% [Mid-point 26.5%] |  | No data | Rng. % Reduction in ambient concentration of NO2 in street canyons | Refers only to NO2 reductions at street level in street canyons context.
|  | Particulate Matter [PM10] | 22-50% [Mid-point 36%] |  | 7-15%* [Mid point 11%] | Rng. % Reduction in ambient concentration of PM10 in street canyons | Refers only to PM10 concentration at street level in street canyons and behind the hedge/vegetated barrier.
Carbon | 3 | Carbon sequestration | 0.68 [Rng. 0.14-0.98] |  | No data | Avg. C kg yr m2 | Mixed results with a significant range in figures reports on carbon sequestration. Figures largely from Mediterranean studies. No data on carbon storage but anticipate to be small.
|  |  | 0.14-3.18 [Mid-point 1.66] |  | No data | Rng. C kg yr m2
|  | Carbon storage | No data | No data | No data | Avg. C kg m2
Water quantity | 2 | Rainwater runoff reduction | <75%* |  | No data | Max. % Rainfall retention | Only two studies were found which reported on quantitative performance of green walls in relation to water quantity management.
|  |  | No data | No data | No data | Avg. Rainfall intercepted m3 annum per m2
Water quality | 4 | Total Nitrate removal | 30-83% [Mid point 57%] |  | No data | Rng. % Reduction in total nitrates | Four studies were included on the evidence base on the capacity of green walls to improve water quality.
|  | Total Suspended Solids removal | 33-99% [Mid point 66%] |  | No data | Rng. % Reduction in total suspended solids
|  | Total Phosphate removal | 15-30% [Mid point 23%] |  | No data | Rng. % Reduction in total phosphates
Temperature | 20 | Indoor air temperature | 4.8oC* | 2.7oC [Rng. 1.7-4oC] | No data | Avg. reductions in indoor air temp oC | 20 studies. More limited evidence sources were available for indoor air temperature than exterior wall and exterior air temperature.
|  | Exterior wall temperature | 3oC [Rng. 1-3oC] | 3.8oC [Rng. 0.4-7.1OC] | No data | Avg. reductions in exterior wall temp oC
|  | Ambient exterior air temperature | 0.5-4.1°C [Mid point 2.3°C] | 1-3oC [Mid point 1.5oC] | No data | Avg. reductions in exterior air temp oC
Energy use | 18 | Energy consumption for cooling | No data use green facades | 19% [Rng. 13-23%] | No data | Avg. % reduction in energy use for cooling | Good range of studies available. Many had to be discounted as not relevant for a temperate climate.
|  | Total energy consumption | 15% [Rng. 14-16%] | 8% [Rng. 8-9%] | No data | Avg. % reduction in total energy consumption
|  | Energy consumption for warming | 5.2% [Rng.4-6.3%] | 1.6% [Rng. 1.2-1.9%] | No data | Avg. % reduction in energy consumption for warming
|  | Thermal transfer | 50% | No data | No data | % reduction in thermal transfer
|  | Thermal resistance | 0.275 [Rng. 0.03-0.52] | 0.09* | No data | Avg. Increase in thermal resistance m2 kW
Health and wellbeing | 12 | Attention | Improvements in the selective attention of children in classrooms with green walls. |  |  | Selective attention | Majority of studies are on indoor green walls rather that outdoor.
|  | Relaxation | Green façade appears to enhance human physiological and psychological relaxation compared to the building-wall. |  |  | Physiological and psychological relaxation | The summary figures reported here are based only on one study, other studies are available in the database.
|  | Memory and recall | View of vegetation led to 12-15% improvement in memory and recall test in adults |  |  | Memory and recall | The summary figures reported here are based only on one study, other studies are available in the database.
Noise | 8 | Reduction in noise levels | 9.75dB [Rng. 4.5-15dB] | 2.6dB [Rng. 1-4dB] | No data | Avg. decibels dB reduction | Mix of green walls and facades data.
|  |  | 50% | No data use living walls | No data | % sound energy reduction | The summary figures reported here are based only on one study, other studies are available in the database.
Land and property | 9 | Property value uplift | 2.5%* [Rng. 2.5-20%] |  | 3.9% | Avg. % uplift in property price | Good range of studies available
|  | Land value uplift | 2% [Rng. 1.4-2.7%] |  | No data | Avg. % uplift in land price | The summary figures reported here are based only on one study, other studies are available in the database.
|  | Rent price premium | No data |  | No data | % rent price | No data
Amenity | 2 | Liveable environment | Promotes a liveable, restorative and aesthetically pleasing environment |  | No data | n/a | The summary figures reported here are based only on two studies, no other studies are available in the database.
Biodiversity | 9 | Birds and arthropods. | Birds exploited the green walls for various reasons (including nesting, food and shelter). Research also showed the capacity of vegetated façades to shelter arthropods. |  | Hedges are known to have high value for biodiversity. | n/a | The benefits of hedges for biodiversity was not captured by the study.
Local economic growth | 8 | Staff turnover | 18% |  | No data | % reduction in staff turnover after investment in greenery regeneration | Studies reported here are not specifically related to green wall but refer to views of greenery or indoor plants. These are taken on proxies for the view of a green wall or an indoor green wall.
|  | Sick leave | 10% |  | No data | % reduction in sick leave in green office environments
|  | Productivity | 15% |  | No data | % increase in worker productivity with green office environments

## Air Quality
Type | Spec | Evidence source | Date of publication | Evidence type | Benefit pathway | Physical flows | Units | Potential benefits for monetisation | Monetary value | Units | Location of the study | Conditions and or limitations
Street trees, SuDS enabled stree trees or urban forest/woodland | Specifics of the study site and/or of the study | Full reference (+hyperlink); Name of organisation, author or contact (date produced/contacted), Title of report/article/other, Name of publisher, place of publication | Year evidence produced | E.g. academic study or report | A simplified representation and example of the relationship between the NBS Type and outcomes in the benefit category that can be assessed. | Flow of benefits (e.g. deposition of pollutant on leaf surfaces) | E.g. Rate of deposition per day/annum | Methodology for monetisation (e.g Quality of Life Adjusted Years) | £ | E.g £ per annum | City, Country, or Meta-analyis | E.g. data was produced in an lab setting which may not be applicable for GM or average data etc.
All pollutants
Green walls | Any type of wall greening. | Pugh et al. (2012) Effectiveness of green infrastructure for improvement of air quality in urban street canyons. Environ Sci Technol. 46, 14, 7692-9 | 2012 | Academic study | Both NO2 and PM are deposited onto surfaces. Rates vary according to the nature of the surface. Deposition rates to vegetation are much higher than those to hard, built surfaces. | <5% | Avg. % improvements in local air quality |  |  |  | London, UK | Modelling study, only applicable to street canyons, street level benefits. City-scale studies have suggested that deposition to vegetation can make a very modest improvement. Specifically refers to street canyons/ dense urban areas. Air lingers in street canyons and is therefore more likely to come into contact with pollutant-scrubbing vegetation. Supports the development of ‘street canyons’, ‘filtered avenues’ and green ‘billboards’ planted with vegetation.Few studies take full account of the interplay between urban form and vegetation
Hedges | 12 m ivy screen, reached 2.4 m in height | Tremper and Green (2018) The impact of a green screen on concentrations of nitrogen dioxide at Bowes Primary School, Enfield. Enivronmental research group. Kings College London. | 2018 | Demonstration project | Vegetation as a pollution sink or barrier | 22% | Avg. % reduction daily avg. pollution concentrations |  |  |  | London, UK | Reduction in mean daily pollution concentration on the non-road side of the green screen.
Hedges | Hedges. Footpath areas of street canyons | Abhijith et al. (2017) Air pollution abatement performances of green infrastructure in openroad and built-up street canyon environments, a review. Atmospheric Environment, 162, 71-86 | 2017 | Academic study |  | 24-61% | Rng. % reduction in pollutant behind barriers |  |  |  | International | Reports on 3 studies
Hedges | Vegetative barriers. Open roads. | Abhijith et al. (2017) Air pollution abatement performances of green infrastructure in openroad and built-up street canyon environments, a review. Atmospheric Environment, 162, 71-86 | 2017 | Academic study |  | 15%-60% | Rng. % reduction in pollutants behind vegative barriers on open roads |  |  |  | International | Meta analysis. Refs. to 'majority of the studies'. Various pollutants with vegetation barriers along open roads.
Hedges | Street canyons. Height - 2.5 m | Gromke et al. (2016) Influence of roadside hedgerows on air quality in urban street canyons. Atmos Environ. 139, 75–86. | 2016 | Academic study | Hedges diverted air pollutant from reaching footpath area by generating local vortices. | Overall, hedges improved air quality in street canyons | n/a |  |  |  | Auckland, New Zealand
Hedges | Street canyons. Height - 2.5 m | Gromke et al. (2016) Influence of roadside hedgerows on air quality in urban street canyons. Atmos Environ. 139, 75–86. | 2016 | Academic study | Hedges diverted air pollutant from reaching footpath area by generating local vortices. | Low permeable and higher hedges show more pollutant reduction | n/a |  |  |  | Auckland, New Zealand
Hedges | Street canyons | Vos et al. (2013) Improving local air quality in cities: To tree or not to tree? Environ. Pollut. 183, 113–122. | 2013 | Academic study |  | Hedge deteriorate air quality in street canyons | n/a |  |  |  | Belgium and the Netherlands | Modelling study. By modelling a variety of real-life examples we show that roadside urban vegetation leads to increased pollutant concentrations rather than improving air quality, at least locally. This can be explained by the fact that trees and other types of vegetation reduce the ventilation that is responsible for diluting the traffic emitted pollutants.
Nitrogen Dioxide (NO2)
Green walls | Any type of wall greening. | Pugh et al. (2012) Effectiveness of green infrastructure for improvement of air quality in urban street canyons. Environ Sci Technol. 46, 14, 7692-9 | 2012 | Academic study | Both NO2 and PM are deposited onto surfaces. Rates vary according to the nature of the surface. Deposition rates to vegetation are much higher than those to hard, built surfaces. | <40% | Max % street level reduciton in NO2 concentration |  |  |  | London, UK | Modelling study, only applicable to street canyons, street level benefits. City-scale studies have suggested that deposition to vegetation can make a very modest improvement. Specifically refers to street canyons/ dense urban areas. Air lingers in street canyons and is therefore more likely to come into contact with pollutant-scrubbing vegetation. Supports the development of ‘street canyons’, ‘filtered avenues’ and green ‘billboards’ planted with vegetation.
Green walls | Street canyon | Abhijith et al. (2017) Air pollution abatement performances of green infrastructure in openroad and built-up street canyon environments, a review. Atmospheric Environment, 162, 71-86 | 2017 | Academic study |  | 18-35% | Rng. % reduction in concentration of NO2 |  |  |  | International | Meta analysis. Refs. to 'majority of the studies'. Various pollutants with vegetation barriers along open roads.
Particulate Matter (PM)
Hedges | Width 1.6m. Height 2.2m. Hawthorn. | Tiwary et al. (2008) Collection of ambient particulate matter by porous vegetation barriers: Sampling and characterization methods. J. Aerosol Sci. 39, 40–47. | 2008 | Academic study | Attributed to both the surface roughness and to the creation of tortuous air flows. Tortuous air flows lead to higher turbulence and increased mixing of PM, and surface roughness increases the likelihood of particles impacting on their foliage surfaces. | 34% | Avg. % reduction in pollutant concentration PM 10 behind barriers |  |  |  | Rural location, UK | Field study. Ambient PM10 was concurrently sampled upwind and downwind of a hawthorn hedge at a rural location in the UK.
Hedges | Width 2.5-3.5m. | Chen et al. (2015) Efficiency differences of roadside greenbelts with three configurations in removing coarse particles (PM10): A street scale investigation in Wuhan, China. Urban Green. 14, 3. | 2015 | Academic study | While vegetation in street canyons may improve air quality by removing pollutants, it may also worsen air quality by inhibiting street ventilation. | 7 - 15% | Rng. % reduction in pollutant concentration PM10 behind barriers. |  |  |  | Wuhan, China | Field study. Investigated the effects of roadside greenbelts on footpath air quality were investigated by measuring the coarse particles (PM10) removal efficiency of roadside greenbelts with three different vegetation structures in different grade roads.
Hedges | Vegetative barrriers. Height 4-8m . Width 2-6m | Lin et al.(2016) The effects of vegetation barriers on near-road ultrafine particle number and carbon monoxide concentrations. Sci. Total Environ. 553, 372–379. | 2016 | Academic study | Particle deposition to leaves and altering the dispersion of emission plumes, which in turn modifies the exposure of near-roadway communities to traffic-related ultra-fine particles | 38 - 64% | Rng. % reduction in pollutant concentration UFP behind barriers. |  |  |  | North Caroline, USA | Field Study. Ultra-fine particles. Both stationary (equipped with a Scanning Mobility Particle Sizer, SMPS) and mobile (equipped with Fast Mobility Particle Sizer, FMPS) measurements were conducted to investigate the effects of vegetation barriers on downwind UFP (particle diameters ranging from 14 to 102 nm) concentrations at two sites in North Carolina, USA.
Green walls | Any type. Street canyon. | Abhijith et al. (2017) Air pollution abatement performances of green infrastructure in openroad and built-up street canyon environments, a review. Atmospheric Environment, 162, 71-86 | 2017 | Academic study | Vegetation acts as a porous body which influences local dispersion patterns, and aids the deposition and removal of airborne pollutants. Urban vegetation removes gaseous pollutants by absorption through leaf stomata or plant surfaces | 22 - 50% | Rng. %. reduction in concentration of PM 10 |  |  |  | International | Metastudy.
Green walls | Any type of wall greening. | Pugh et al. (2012) Effectiveness of green infrastructure for improvement of air quality in urban street canyons. Environ Sci Technol. 46, 14, 7692-9 | 2012 | Academic study | Both NO2 and PM are deposited onto surfaces. Deposition rates to vegetation are much higher than those to hard, built surfaces. | <60% | Max %. street level reductions in PM10 concentration |  |  |  | London, UK | Modelling study, only applicable to street canyons, street level benefits. City-scale studies have suggested that deposition to vegetation can make a very modest improvement. Specifically refers to street canyons/ dense urban areas. Air lingers in street canyons and is therefore more likely to come into contact with pollutant-scrubbing vegetation. Supports the development of ‘street canyons’, ‘filtered avenues’ and green ‘billboards’ planted with vegetation.
Green walls | All types. | Weerakkody et al. (2018) Quantification of the traffic-generated particulate matter capture by plant species in a living wall and evaluation of the important leaf characteristics. Science of The Total Environment. | 2018 | Academic study | Immobilize particles. | 44,500,000 [± 0.33] | PM<10 particles captured per m2 yr |  |  |  | UK | Thesis. This thesis explored their potential to serve as near-road/rail PM filters, and evaluated the optimal conditions required to maximise their PM capture efficiency, using both field and laboratory-based techniques.
Green façades | Climbers. | Cheetham et al. (2012) Delivering Vertical Greening. Transport for London Surface Transport. Greater London Authority. | 2012 | R |  | 2.06 | PM<10 particles removal kg yr |  |  |  | London, UK | Field study on the benefits of the green wall at Edgware Road station, London. A great disparity in the ability of different plant species to capture PM10.
Green façades | Climbers. | Sternberg et al. (2010) Dust particulate absorption by ivy (Hedera helix L) on historic walls in urban environments.Sci Total Environ. 409, 1, 162-8. | 2010 | Academic study | Ivy acts as a 'particle sink', absorbing particulate matter. | 29000000000 | PM <2.5 particle removed at densities per m2 |  |  |  | Oxford, UK | Field study at three sites in Oxford, UK. The sampling method aimed to investigate any differences in deposition of particulates between the front of the ivy canopy and the rear, with deposition on the leaves at the back of the canopy acting as a proxy for deposition on the wall itself (and avoiding the difficulties of comparing deposition on different surface materials.
Green walls | Traffic pollution | Weerakkody et al. (2018) Quantification of the traffic-generated particulate matter capture by plant species in a living wall and evaluation of the important leaf characteristics. Science of The Total Environment. | 2018 | Academic study | Plants are known to filter pollutants and to act as a vegetative barrier. | 82,400,000 [± 0.72] | PM<2.5 particles captured per m2 |  |  |  | UK | Different species captured significantly different quantities of all particle sizes; the highest amount of all particle sizes was found on the leaf-needles of Juniperus chinensis L., followed by smaller-leaved species.
Green walls | Traffic pollution | Weerakkody et al. (2018) Quantification of the traffic-generated particulate matter capture by plant species in a living wall and evaluation of the important leaf characteristics. Science of The Total Environment. | 2018 | Academic study | Plants are known to filter pollutants and to act as a vegetative barrier. | 1,220,800,000 [± 6.9 ] | PM<1 particles captured per m2 |  |  |  | UK | Different species captured significantly different quantities of all particle sizes; the highest amount of all particle sizes was found on the leaf-needles of Juniperus chinensis L., followed by smaller-leaved species.
Hedges | Street canyons. Traffic pollution. | Wania et al. (2012). Analysing the influence of different street vegetation on traffic-induced particle dispersion using microscale simulations. J. Environ. Manage. 94, 91–101. | 2012 | Academic study | The deposition of particles (type and quantity) on foliage has been demonstrated through chemical analysis and the absorption of gaseous pollutants into plant tissue has been quantified in chamber experiments. | Caused less accumulation of pollutants compared to trees. | n/a |  |  |  | Strasbourg, France | Used a 3-dimensional microclimate model ENVI-met®, to evaluate these effects regarding the height-to-width ratio of streets flanked by buildings and the vertical and horizontal density of street vegetation.
Green walls | Roadside vegetation. Traffic pollution. | Morakinyo and Lam (2016) Simulation study of dispersion and removal of particulate matter from traffic by road-side vegetation barrier. Environ. Sci. Pollut. Res. 23, 6709–6722. | 2016 | Academic study | Dispersion and mass removal (by deposition). | Max pollutant reduction behind the green wall at pedestrian height. | n/a |  |  |  | Hong Kong | Modelling study. PM2.5 concentration behind the green wall was modelled under various wind flow conditions. Maximum pollutant reduction behind the green wall at pedestrian height. Increase in wall thickness had little effect on pollutant removal. Wall accumulates pollutants up wind (near the road). They remarked green walls are favoured against the solid wall as vegetation can remove some pollutants by deposition.
Green walls | Roadside vegetation. Traffic pollution. | Tong et al. (2016) Roadside vegetation barrier designs to mitigate near-road air pollution impacts. Sci. Total Environ. 541, 920–927. | 2016 | Academic study | The effects of vegetation barriers on near-road air quality are primarily governed by two physical mechanisms: dispersion and deposition | Significant reduction in utra fine particulare matter (5nm to 253 nm) | n/a |  |  |  | North Carolina, USA | Ultra-fine Particulate matter (5 nm to 253 nm) reduction by a green wall along the open road was investigated through modelling study by considering deposition and dispersion. They observed significant reduction behind the green wall. The green wall caused accumulation pollutants on street. They remarked green wall showed similar concentration profile to solid walls and vegetation cover on the wall showed less reduction of pollutants by deposition as it had lesser leaf surface area than tree stands.
Green walls |  | Sternberg et al., (2010) Dust particulate absorption by ivy (Hedera helix L) on historic walls in urban environments.Sci Total Environ. 409, 1 , 162-8. | 2010 | Academic study | Ivy acts as a 'particle sink', absorbing particulate matter, particularly in high-traffic areas. | Observed the effective collection of a particle in high trafficked areas. | n/a |  |  |  | Oxford, UK | This study analysed particulate deposition on climbing vegetation ivy. They observed the effective collection of a particle in high trafficked areas.
Hedges |  | Chen et al. (2016) Experimental examination of effectiveness of vegetation as bio-filter of particulate matters in the urban environment. Environ. Pollut. 208, 198–208. | 2016 | Academic study | Vegetation captures gases, particulates and aerosols from the atmosphere more effectively than other land surfaces. | 45-93% | Rng. % reduction in TSP concentrations behind barriers |  |  |  | Beijing, China | Field study. Study contained three major parts corresponding to the raised questions: 1) Exploration of the relationship between meteorological factors, vegetation coverage and PM2.5 concentration at urban scale. On a finer scale, designed 2) Leaf-washing experiments to determine the role of species differences; and 3) on-site street-monitoring to test the differences of planting configurations in affecting air PM concentration.
Sulphur Dioxide
Green façades |  | Joshi and Ghosh (2014) On the air cleansing efficiency of an extended green wall: A CFD analysis of mechanistic details of transport processes. J. Theor. Biol. 361, 101–110. | 2014 | Academic study | Deposition of pollutants to surfaces by employing botanical solutions. Compared to hard, solid surfaces like concrete façades, pollutant uptake by plants is much higher. | 1.11×106 s | Removal rate SO2 (dry) |  |  |  | India | Modelling study. SO2 removal by green façade was modelled. They found significant removal by vegetation. The removal rate was influenced by humidity and LAI.
Green façades |  | Joshi and Ghosh (2014) On the air cleansing efficiency of an extended green wall: A CFD analysis of mechanistic details of transport processes. J. Theor. Biol. 361, 101–110. | 2014 | Academic study | Deposition of pollutants to surfaces by employing botanical solutions. Compared to hard, solid surfaces like concrete façades, pollutant uptake by plants is much higher. | 1.05×106 s | Removal rate SO2 (humid) |  |  |  | India | Modelling study. SO2 removal by green façade was modelled. They found significant removal by vegetation. The removal rate was influenced by humidity and LAI.

## Carbon
Type | Spec | Evidence source | Date of publication | Evidence type | Benefit pathway | Physical flows | Units | Conversion to tonnes | Potential benefits for monetisation | Monetary value | Units | Location of the study | Conditions and or limitations
Street trees, SuDS enabled street trees or Urban forest/woodland | Specifics of the study site and/or of the study | Full reference (+hyperlink); Name of organisation, author or contact (date produced/contacted), Title of report/article/other, Name of publisher, place of publication | Year evidence produced | E.g. academic study or report | A simplified representation and example of the relationship between the NBS Type and outcomes in the benefit category that can be assessed. | Flow of benefits (e.g. deposition of pollutant on leaf surfaces) | E.g. Kg of carbon sequestered per year |  | Methodology for monetisation (e.g. avoided damage cost) | £ | E.g. £ per annum | City, Country, or Meta-analyis | E.g. data was produced in an lab setting which may not be applicable for GM or average data etc.
Carbon sequestration
Living walls | 98m2 facade. Light structures with plants embedded on felt layers and nurtured by a hydroponic watering system. | Pulselli et al. (2014) A comprehensive lifecycle evaluation of vertical greenery systems based on systemic indicators. WIT Trans. Ecol. Envir., 191. 1017-1024. | 2014 | Academic study | 1) CO2 absorption by plants; 2) CO2 contained in the residual biomass by pruning operations; 3) carbon held in the plants’ composting process; 4) carbon deposited onto agricultural soil in the form of compost; 5) carbon assimilated by micro-organisms and permanently held in the soil. | 0.92 | Avg. C sequestered kg m2 yr |  |  |  |  | Mediterranean area | Case study building modelled
Living walls | Grass (Zoysia matrella) | Marchi et al. (2015) Carbon dioxide sequestration model of a vertical greenery system, Ecological Modelling, Elsevier, vol. 306 46-56. | 2015 | Academic study | Plants accumulate carbon in different compartments and moments of their life (plants, compost, soil and microbial biomass in soil). Amount of CO2 removed from the atmosphere is the portion finally stocked in the soil in the form of microbial biomass. | 0.98 | Avg. C sequestered kg m2 yr |  |  |  |  | Mediterranean area | Field study
Living walls | Succulent plant (sedumspurium) | Marchi et al. (2015) Carbon dioxide sequestration model of a vertical greenery system, Ecological Modelling, Elsevier, vol. 306 46-56. | 2015 | Academic study | Plants accumulate carbon in different compartments and moments of their life (plants, compost, soil and microbial biomass in soil). Amount of CO2 removed from the atmosphere is the portion finally stocked in the soil in the form of microbial biomass. | 0.14 | Avg. C sequestered kg m2 yr |  |  |  |  | Mediterranean area | Field study
Living walls | 98m2 vertical greening system. | Marchi et al. (2015) Carbon dioxide sequestration model of a vertical greenery system, Ecological Modelling, Elsevier, vol. 306 46-56. | 2015 | Academic study | Plants accumulate carbon in different compartments and moments of their life (plants, compost, soil and microbial biomass in soil). Amount of CO2 removed from the atmosphere is the portion finally stocked in the soil in the form of microbial biomass. | 0.44-3.18 | Rng. C sequestered kg m2 yr |  |  |  |  | Mediterranean area | The amounts of CO2 within the soil depends on decomposition of plant residues, the generation of microbial biomass, the mortality of microbial biomass and the soil respiration. The species and biological properties decide carbon sequestration in plant tissues. Mediterranean climate was assumed.
Living walls | Herbaceous plants (Carex bunnea, rosmarinus offinalis, salvia nemorosa) | Marchi et al. (2015) Carbon dioxide sequestration model of a vertical greenery system, Ecological Modelling, Elsevier, vol. 306 46-56. | 2015 | Academic study | Plants accumulate carbon in different compartments and moments of their life (plants, compost, soil and microbial biomass in soil). Amount of CO2 removed from the atmosphere is the portion finally stocked in the soil in the form of microbial biomass. | 0.86-0.99 | Rng. C sequestered kg m2 yr |  |  |  |  | Mediterranean area | Field study
Living walls | Flowering plants (e.g. Rosmarinus officinalis or Fatsia japonica) | Marchi et al. (2015) Carbon dioxide sequestration model of a vertical greenery system, Ecological Modelling, Elsevier, vol. 306 46-56. | 2015 | Academic study | Plants accumulate carbon in different compartments and moments of their life (plants, compost, soil and microbial biomass in soil). Amount of CO2 removed from the atmosphere is the portion finally stocked in the soil in the form of microbial biomass. | 0.32-0.41 | Rng. C sequestered kg m2 yr |  |  |  |  | Mediterranean area | Field study
Living walls | Two main types of living walls - continuous (geotextile/hydroponic) and modular (single or grid panel planters and pockets) | Charoenkit and Yiemwattana (2016) Living Walls and Their Contribution to Improved Thermal Comfort and Carbon Emission Reduction: A Review, Building and Environment, 105, 82–94. | 2016 | Academic study | Living walls also have a carbon reducing benefit as they are able to sequester Carbon Dioxide (CO2) in plant biomass and substrate. Living walls can therefore be considered as an important measure for climate mitigation in urban environments. | Have the capacity to sequester CO2 but the amount is less than that of green roofs | n/a |  |  |  |  | International study includes temperate areas | Key factors affecting thermal and CO2 sequestration performance of LWs are plants and substrates. Influencing factors affecting thermal and CO2 sequestration performances of living walls are highlighted and the research gaps which need to be addressed in each factor are pointed out. It was found that plant and substrate characteristics are the major factors that have impacts on both energy and CO2 performance, but these two environmental benefits of living walls are separately examined. Multistudy lit review.
Carbon storage

## Water Quantity
Type | Spec | Evidence source | Date of publication | Evidence type | Benefit pathway | Physical flows | Units | Potential benefits for monetisation | Monetary value | Units | Location of the study | Conditions and or limitations
Street trees, SuDS enabled stree trees or Urban forest/woodland | Specifics of the study site and or of the study | Full reference (+hyperlink); Name of organisation, author or contact (date produced/contacted), Title of report/article/other, Name of publisher, place of publication | Year evidence produced | E.g. academic study or report | A simplified representation and example of the relationship between the NBS Type and outcomes in the benefit category that can be assessed. | Flow of benefits (e.g deposition of pollutant on leaf surfaces) | (E.g. Rate of deposition per day/annum) | Methodology for monetisation (e.g Quality of Life Adjusted Years) | £ | (e.g £ per annum) | City, Country, or Meta-analyis | E.g. data was produced in an lab setting which may not be applicable for GM or average data etc.
Runoff Retention
Sloped green roof | Sloped roofs. 0.2 cm rainfall event. Light rainfall. | VanWoert et al. (2005) Green roof stormwater retention: effects of roof surface, slope, and media depth. Journal of Environmental Quality. 34:1036-1044. | 2005 | Academic study | Plants and media in a green retaining wall system promote interception, infiltration, and evapotranspiration while cooling and shading the surrounding urban microclimate. Green retaining walls may perform similarly to green roofs, rain gardens, bioswales, and pervious pavement in reducing stormwater runoff. | 94.2% | Avg. % runoff retained [20mm rainfall event] |  |  |  | Vancouver, Canada | Retained 94.2% of rain water during light rain events (<0.2 cm) (sloped roofs). Green landscaping walls, which are usually employed at steep or near-vertical angles, may perform similarly to sloped roofs in some respects. Vegetation and growing substrate are also important determinants of stormwater performance. Once the material was fully saturated, additional rainfall primarily generated stormwater runoff.
Sloped green roof | Heavy events (>1 cm). | VanWoert et al. (2005) Green roof stormwater retention: effects of roof surface, slope, and media depth. Journal of Environmental Quality. 34:1036-1044. | 2005 | Academic study | Plants and media in a green retaining wall system promote interception, infiltration, and evapotranspiration while cooling and shading the surrounding urban microclimate. Green retaining walls may perform similarly to green roofs, rain gardens, bioswales, and pervious pavement in reducing stormwater runoff. | 63.3% | Avg. %runoff retained [100mm rainfall event] |  |  |  | Vancouver, Canada | Retained 63.3% during heavy events (>1 cm). Water retention decreased as slope increased from 2% to 15% well as from 2% to 25%. Green landscaping walls, which are usually employed at steep or near-vertical angles, may perform similarly to sloped roofs in some respects. Vegetation and growing substrate are also important determinants of stormwater performance. Once the material was fully saturated, additional rainfall primarily generated stormwater runoff.
Green walls |  | Ostendorf et al (2011) Storm water runoff from green retaining wall systems. Cities Alive 9th Annual Green Roof and Green Wall conference, Philladelphia. | 2011 | Report | Plants and media in a green retaining wall system promote interception, infiltration, and evapotranspiration while cooling and shading the surrounding urban microclimate. Green retaining walls may perform similarly to green roofs, rain gardens, bioswales, and pervious pavement in reducing stormwater runoff. | <75% | Max. % runoff retained |  |  |  | Illinois, US | Importance of species selection to maximize the environmental benefits of green retaining walls.
Sloped green roof | Sloped roof. | VanWoert et al. (2005) Green roof stormwater retention: effects of roof surface, slope, and media depth. Journal of Environmental Quality. 34:1036-1044. | 2005 | Academic study | Plants and media in a green retaining wall system promote interception, infiltration, and evapotranspiration while cooling and shading the surrounding urban microclimate. Green retaining walls may perform similarly to green roofs, rain gardens, bioswales, and pervious pavement in reducing stormwater runoff. | Retention decreased as slope increased from 2-15% as well as from 2-25%. | n/a |  |  |  | Vancouver, Canada | Green landscaping walls, which are usually employed at steep or near-vertical angles, may perform similarly to sloped roofs in some respects. Vegetation and growing substrate are also important determinants of stormwater performance. Once the material was fully saturated, additional rainfall primarily generated stormwater runoff.
Peak flow delay
Green walls |  | Ostendorf et al (2011) Storm water runoff from green retaining wall systems. Cities Alive 9th Annual Green Roof and Green Wall conference, Philladelphia. | 2011 | Report | Plants and media in a green retaining wall system promote interception, infiltration, and evapotranspiration while cooling and shading the surrounding urban microclimate. Green retaining walls may perform similarly to green roofs, rain gardens, bioswales, and pervious pavement in reducing stormwater runoff. | A delay in stormwater runoff was occasionally observed throughout the study. | Peak flow delay |  |  |  | Illinois, US | Importance of species selection to maximize the environmental benefits of green retaining walls. Variation in runoff reduction was complex.

## Water Quality
Type | Spec | Evidence source | Date of publication | Evidence type | Benefit pathway | Physical flows | Units | Potential benefits for monetisation | Monetary value | Units | Location of the study | Conditions and or limitations
Street trees, SuDS enabled stree trees or Urban forest/woodland | Specifics of the study site and or of the study | Full reference (+hyperlink); Name of organisation, author or contact (date produced/contacted), Title of report/article/other, Name of publisher, place of publication | Year evidence produced | E.g academic study or report | A simplified representation and example of the relationship between the NBS Type and outcomes in the benefit category that can be assessed. | Flow of benefits (e.g deposition of pollutant on leaf surfaces) | (E.g. Rate of deposition per day/annum) | Methodology for monetisation (e.g Quality of Life Adjusted Years) | £ | (e.g £ per annum) | Country of origin | E.g. data was produced in an lab setting which may not be applicable for GM or average data etc.
Nitrates
Green façades | Sand based media supporting vegetation that grows up and alongside the building's façade. Wastewater from shower/bath constitute the majority of light greywater. | Fowdar et al. (2017) Designing living walls for greywater treatment Water Res., 110, 218-232. | 2017 | Academic study |  | 83% | Avg. % Total Nitrate removal |  |  |  | Melbourne, Australia | 1 year study. Study reported greywater treatment efficiency for a period of one year.
Living walls | Well-sized treatment system | Bussy (2009) An innovative way to treat wastewater. Ecole Nationale du Génie de l’Eau et de l’Environnement de Strasbourg (ENGEES) 31/07/2009. | 2009 | Report |  | 50% | Avg. % Total Nitrate removal |  |  |  | Rural Case, Sweden | Designed water treatment system.
Living walls | Hydraulically slow media (e.g. coir, rockwool and fyto-foam) | Prodanovica et al. (2017) Green walls for greywater reuse: Understanding the role of media on pollutant removal, Ecological Engineering, 102, 625-635. | 2017 | Academic study | Green walls are major water users. | 50% | Avg. % Total Nitrate removal |  |  |  | Victoria, Australia | Experimental Study. Significant difference in the processes that govern the pollutant removal performance of coir and perlite media.
Living walls | Hydraulically fast media (e.g. perlite, vermiculture, growstone, expended clay and river sand) | Prodanovica et al. (2017) Green walls for greywater reuse: Understanding the role of media on pollutant removal, Ecological Engineering, 102, 625-635. | 2017 | Academic study | Green walls are major water users. | 30% | Avg. % Total Nitrate removal |  |  |  | Victoria, Australia | Experimental Study. Significant difference in the processes that govern the pollutant removal performance of coir and perlite media.
Phosphates
Living walls | Treatment system | Bussy (2009) An innovative way to treat wastewater. Ecole Nationale du Génie de l’Eau et de l’Environnement de Strasbourg (ENGEES) 31/07/2009. | 2009 | Report |  | 95% | Avg. % Total Phosphate removal |  |  |  | Rural Case, Sweden | Well-sized system. Specifically desinged water treament system.
Green walls | Hydraulically fast media (e.g. perlite, vermiculture, gorwstonw, expended clay and river sand) | Prodanovica et al. (2017) Green walls for greywater reuse: Understanding the role of media on pollutant removal, Ecological Engineering, 102, 625-635. | 2017 | Academic study | Green walls are major water users. | 15% | Avg. % Total Phosphate removal |  |  |  | Victoria, Australia | Experimental Study. Significant difference in the processes that govern the pollutant removal performance of coir and perlite media.
Green walls | Hydraulically slow media (e.g. coir, rockwool and fyto-foam) | Prodanovica et al. (2017) Green walls for greywater reuse: Understanding the role of media on pollutant removal, Ecological Engineering, 102, 625-635. | 2020 | Academic study | Green walls are major water users. | 30% | Avg. % Total Phosphate removal |  |  |  | Victoria, Australia | Experimental Study. Significant difference in the processes that govern the pollutant removal performance of coir and perlite media.
Total Suspended Solids (TSS)
Living walls | Sand based media supporting vegetation that grows up and alongside the building's façade. Wastewater from shower/bath constitute the majority of light greywater. | Fowdar et al. (2017) Designing living walls for greywater treatment Water Res., 110, 218-232. | 2017 | Academic study |  | 33-99% | Rng % Total Suspended Solids removal |  |  |  | Melbourne, Australia | 1 year study
Green walls | Hydraulically fast media (e.g. perlite, vermiculture, growstone, expended clay and river sand) | Prodanovica et al. (2017) Green walls for greywater reuse: Understanding the role of media on pollutant removal, Ecological Engineering, 102, 625-635. | 2017 | Academic study | Green walls are major water users. | 80% | Avg % Total Suspended Solids removal |  |  |  | Victoria, Australia | Experimental Study. Significant difference in the processes that govern the pollutant removal performance of coir and perlite media.
Green walls | Hydraulically slow media (e.g. coir, rockwool and fyto-foam) | Prodanovica et al. (2017) Green walls for greywater reuse: Understanding the role of media on pollutant removal, Ecological Engineering, 102, 625-635. | 2018 | Academic study | Green walls are major water users. | 90% | Avg % Total Suspended Solids removal |  |  |  | Victoria, Australia | Experimental Study. Significant difference in the processes that govern the pollutant removal performance of coir and perlite media.
Biochemical Oxygen Demand (BOD)
Living walls | Sand based media supporting vegetation that grows up and alongside the building's façade. Wastewater from shower/bath constitute the majority of light greywater. | Fowdar et al. (2017) Designing living walls for greywater treatment Water Res., 110, 218-232. | 2017 | Academic study |  | >90%, | Max. % BOD removal |  |  |  | Melbourne, Australia | Mean effluent BOD concentrations were always below 3.5 mg/L in every sampling run. 1 year study. Plants. Study reported greywater treatment efficiency for a period of one year.
Living walls | Treatment system | Bussy (2009) An innovative way to treat wastewater. Ecole Nationale du Génie de l’Eau et de l’Environnement de Strasbourg (ENGEES) 31/07/2009. | 2009 | Report |  | 75% | Avg. % BOD removal |  |  |  | Rural Case, Sweden | Well-sized system
Living walls | Treatment system | Bussy (2009) An innovative way to treat wastewater. Ecole Nationale du Génie de l’Eau et de l’Environnement de Strasbourg (ENGEES) 31/07/2009. | 2009 | Report |  | Living wall system for greywater treatment more affordable than either centralized municipal wastewater treatment or onsite MBR treatment (most expensive) | n/a |  |  |  | Rural Case, Sweden | Well-sized system
Chemical Oxygen Demand (COD)
Green walls | Hydraulically fast media (e.g. perlite, vermiculture, growstone, expended clay and river sand) | Prodanovica et al. (2017) Green walls for greywater reuse: Understanding the role of media on pollutant removal, Ecological Engineering, 102, 625-635. | 2017 | Academic study | Green walls are major water users. | 30% | % Avg. COD removal |  |  |  | Victoria, Australia | Experimental Study. Significant difference in the processes that govern the pollutant removal performance of coir and perlite media.
Green walls | Hydraulically slow media (e.g. coir, rockwool and fyto-foam) | Prodanovica et al. (2017) Green walls for greywater reuse: Understanding the role of media on pollutant removal, Ecological Engineering, 102, 625-635. | 2017 | Academic study | Green walls are major water users. | 80% | % Avg. COD removal |  |  |  | Victoria, Australia | Experimental Study. Significant difference in the processes that govern the pollutant removal performance of coir and perlite media.
Total Organic Carbon (TOC)
Living walls | Sand based media supporting vegetation that grows up and alongside the building's façade. Wastewater from shower/bath constitute the majority of light greywater. | Fowdar et al. (2017) Designing living walls for greywater treatment Water Res., 110, 218-232. | 2017 | Academic study |  | >70% | % Max. TOC removal |  |  |  | Melbourne, Australia | 1 year study. Mean effluent TOC concentrations remained within 3–11 mg/L (down from influent concentrations of 28–67 mg/L) over the entire experimental period.
Dissolved Organic Carbon (DOC)
Living walls | Sand based media supporting vegetation that grows up and alongside the building's façade. Wastewater from shower/bath constitute the majority of light greywater. | Fowdar et al. (2017) Designing living walls for greywater treatment Water Res., 110, 218-232. | 2017 | Academic study |  | 70-95% | Rng. % DOC removal |  |  |  | Melbourne, Australia | 1 year study. Mean effluent TOC concentrations remained within 3–11 mg/L (down from influent concentrations of 28–67 mg/L) over the entire experimental period.
Living walls | Coarse media such as vermiculite, perlite, and sand are effective for avoiding the clogging issues of finer porosity materials. | Pradan et al. (2019) Greywater recycling in buildigns using living walls and green roofs: A review of applicability and chalelgnes. Science of the total environment, 652. 340-344. | 2019 | Academic study | Plants in living walls and green roofs have the ability to aid in environmental remediation through absorption of gaseous pollutants from the air and improving storm water quality. | ~75% | Avg. % DOC removal |  |  |  | International | Review study

## Temperature
Type | Spec | Evidence source | Date of publication | Evidence Type | Benefit pathway | Physical flows | Units | Potential benefits for monetisation | Monetary value | Units | Location of the study | Climate | Conditions and or limitations
Street trees, SuDS enabled stree trees or Urban forest/woodland | Specifics of the study site and or of the study | Full reference (+hyperlink); Name of organisation, author or contact (date produced/contacted), Title of report/article/other, Name of publisher, place of publication | Year evidence produced | Academic | A simplified representation and example of the relationship between the NBS Type and outcomes in the benefit category that can be assessed. | Flow of benefits (e.g deposition of pollutant on leaf surfaces) | (E.g. Rate of deposition per day/annum) | Methodology for monetisation (e.g Quality of Life Adjusted Years) | £ | (E.g. £ per annum) | City, Country, or Meta-analyis | Climate zone (Koppen climate classifications) | E.g. data was produced in an lab setting which may not be applicable for GM or average data etc.
Indoor air or wall temperature
Green façades | Climber [vines] growing on a metal trellis system and a non-commerical non metal trellis. Range of species. | Tilley et al. (2012) Vegetated Walls: Thermal and Growth propoerties of structured green facades. Final Report to Green roods for healthy Cities - Green Walls Group. | 2012 | R |  | 4oC | Avg. Indoor air temp reductions oC [afternoon/summer] |  |  |  | Clarksville, Maryland, USA | Humid sub-tropical climate | Experimental study. Conducted a trial test using four identical buildings. Two of these cubic buildings (2.5 m2 x 3.5 m high) were greened on the East, South and West façades the other two were left un-greened as a control group. Influenced by orientation.
Green façades | Climbers [ivy] [10cm depth] | Cuce (2017) Thermal regulation impact of green walls: An experimental and numerical investigation. Applied Energy. 194 247-254. | 2017 | AS | Evaporative cooling effect | 2.5°C | Avg. Indoor wall temp reductions oC |  |  |  | Nottingham, UK | Temperate-maritime climate | Experimental study. Thermal regulation feature highly depends on plant intensity and orientation. Results from a single case study conducted in the Jubilee Campus of University of Nottingham.
Green façades | Climbers. Parthenocissus tricuspidata, Hedera helix and Fallopia baldschuanica. | Hoelscher et al. (2016) Quantifying cooling effects of facade greening: shading, transpiration, and insulation. Energy Build. 114, 283–290. | 2016 | AS |  | 1.7oC | Avg. Indoor wall temp reductions oC |  |  |  | Berlin, Germany | Temperate-maritime climate | Experimental study. 3 building façades.
Living walls | Shrubs | Pérez-Urrestarazu et al (2016) Influence of an active living wall on indoor temperature and humidity conditions. Ecol. Eng. 90, 120–124. | 2016 | AS |  | 4.8 °C | Avg. Interior walls temp reductions °C |  |  |  | Spain | Mediterranean continental climate. | Experimental study.
Green façades [Climbers] | Double Skin.Climber. | Ip et al. (2010). Shading performance of a vertical deciduous climbing plant canopy. Building and Environment, 45, 81-88. | 2010 | AS |  | 5.6oC | Max. Indoor air temp reductions oC [daytime/ Summer] |  |  |  | UK | Temperate-maritime climate | Experimental and modelling study. Monitored for two yrs.
Green façades [Climbers] | Double Skin.Climber. | Ip et al. (2010). Shading performance of a vertical deciduous climbing plant canopy. Building and Environment, 45, 81-88. | 2010 | AS |  | 3.5oC | Max. Indoor air temp reductions oC [nighttime/ Summer] |  |  |  | UK | Temperate-maritime climate | Experimental and modelling study. Monitored for two yrs.
Green façades | Double Skin. | Miller et al (2007) Vegetation on building façades: “Bioshader”. Case Study Report. | 2007 | R |  | 3.5–5.6°C | Rng. Interior temperature reduction °C |  |  |  | Unknown | Not specified
Unknown |  | Sclar (2013). The impact of green walls and roofs to urban microclimate in downtown Dallas, Texas: Learning from simulated environments. Unpublished PhD thesis, The University of Texas at Arlington. | 2013 | AS |  | n/a | n/a | A 5º C decrease in internal air temperature of a building can save up to 8% in energy demand. |  |  | Dallas, Texas, US | Humid sub-tropical climate | Improved shading coverage and cooling effects, virginia creeper, blue trumpet vine, and ivy may be preferable, with the magnitude of the shading effect dependent on the density of foliage.
Exterior wall temperature - average
Green façades | Climber [vines] growing on a metal trellis system and a non-commerical non metal trellis. Range of species. | Tilley et al. (2012) Vegetated Walls: Thermal and Growth propoerties of structured green facades. Final Report to Green roods for healthy Cities - Green Walls Group. | 2012 | R |  | 7.1oC | Avg. Exterior walls temp reductions °C [afternoon/summer] |  |  |  | Clarksville, Maryland, USA | Humid sub-tropical climate | Experimental study. Conducted a trial test using four identical buildings. Two of these cubic buildings (2.5 m2 x 3.5 m high) were greened on the East, South and West façades the other two were left un-greened as a control group. Influenced by orientation.
Green façades | Climbers [ivy] [10cm depth] | Cuce (2017) Thermal regulation impact of green walls: An experimental and numerical investigation. Applied Energy Volume 194, 15 May 2017, Pages 247-254 | 2017 | AS | Evaporative cooling effect | 4.0°C | Avg. Exterior walls temp reductions °C [cloudy days]. |  |  |  | Nottingham, UK | Temperate-maritime climate | Field study. Thermal regulation feature highly depends on plant intensity and orientation. Results from a single case study conducted in the Jubilee Campus of University of Nottingham.
Green façades |  | Susorova et al. (2013) A model of vegetated exterior facdes for evlauation of wall thermal performance, Buildingand environment, 67. 1-13. | 2013 | AS |  | 0.4oC | Avg. Exterior walls temp reductions °C [Cloudy day] |  |  |  | Chicago, US | Continental | Modelling study. Heat transfer model. 1 sunny day. 1 cloudy day.
Green façades | Climbers [ivy] [10cm depth] | Cuce (2017) Thermal regulation impact of green walls: An experimental and numerical investigation. Applied Energy. 194 247-254. | 2017 | AS | Evaporative cooling effect | 6.1°C | Avg. Exterior walls temp reductions °C [sunny days]. |  |  |  | Nottingham, UK | Temperate-maritime climate | Field study. Thermal regulation feature highly depends on plant intensity and orientation. Results from a single case study conducted in the Jubilee Campus of University of Nottingham.
Green façades | Climbers [ivy] [10cm depth] | Cuce (2017) Thermal regulation impact of green walls: An experimental and numerical investigation. Applied Energy. 194 247-254. | 2017 | AS | Evaporative cooling effect | 4.0°C | Exterior walls temp reductions °C [cloudy days]. |  |  |  | Nottingham, UK | Temperate-maritime climate | Field study. Thermal regulation feature highly depends on plant intensity and orientation. Results from a single case study conducted in the Jubilee Campus of University of Nottingham.
Green façades |  | Susorova et al. (2013) A model of vegetated exterior facdes for evlauation of wall thermal performance, Building and environment, 67. 1-13. | 2013 | AS |  | 0.4oC | Avg. Exterior walls temp reductions °C [Cloudy day] |  |  |  | Chicago, US | Continental | Modelling study. Heat transfer model. 1 sunny day. 1 cloudy day.
Green façades | Climbers | Susorova et al. (2013) A model of vegetated exterior facdes for evlauation of wall thermal performance, Building and environment, 67. 1-13. | 2013 | AS |  | 1.1oC | Avg. Exterior walls temp reductions °C [Sunny days]. ] |  |  |  | Chicago, US | Continental | Modelling study. Heat transfer model. 1 sunny day. 1 cloudy day.
Green façades | Double Skin. | Pérez et al. (2014) Vertical Greenery Systems (VGS) for energy saving in buildings: A review. Renewable and Sustainable Energy Reviews. 39.139-165. | 2014 | AS |  | 5.5°C | Avg. Exterior walls temp reductions °C |  |  |  | Spain. | Mediterranean climate | Review study. Difference higher in August and September.
Green façades | Climbers. 25cm thick. | Eumorfopoulou and Kontoleon (2009) Experimental approach to the contribution of plant-covered walls to the thermal behavior of building envelopes. Building and Environment, 44 5. | 2009 | AS |  | 5.7oC | Avg. Exterior walls temp reductions °C |  |  |  | Greece | Mediterranean climate | Experimental study. Mediterranean climate. Study carried out during the cooling period in the Greek region
Living walls | Wall shrubs and climbing plants | Cameron et al. (2014) What’s ‘cool’in the world of green façades? How plant choice influences the cooling properties of green walls. Build Environ. 73, 198–207. | 2014 | AS |  | 3 °C. | Avg. Exterior walls temp reductions °C (During warmest periods) |  |  |  | UK | Temperate-maritime climate | Experimental study. University of reading. Test walls.
Living Walls | Felt layer plus alumnium frame or bowl structure. With a range of plants grass, evergreen. Substrate thickness 1-5cm. | Mazzali et al., (2013) Experimental investigation on the nergy performance of living walls in temperate climates. Building and Environment, 64, 57-66. | 2013 | AS | Shielding effects and thermal reduction | 1–2 °C | Rng. Exterior walls temp reductions °C [cloudy day] |  |  |  | Mediterrain | Mediterranean climate | Experimental study. Three vertical gardens showed a similar behavior in similar climatic conditions. Studied three different kinds of living wall.
Green façades | Climbers. Ivy. 10-45cm | Sternberg et al. (2011) Evaluating the role of ivy (Hedera helix) in moderating wall surface microclimates and contributing to the bioprotection of historic buildings. Building and Environment, 46, 2, 293-297. | 2011 | AS |  | 36% | Avg. Exterior walls max temp reductions % |  |  |  | England, UK | Temperate-maritime climate | Field data. Collected data, during a year, on temperature and relative humidity in five ivy Traditional Green Façades (Hereda helix) in various England locations.
Max Exterior wall temperature
Green façades | Covered with evergreen plants (Pandorea jasminoides variegated and Rhyncospermum jasminoide). | Vox et al. (2018) Green façades to control wall surface temperature in buildings. Building and Environment, 129, 154-166. | 2018 | AS | Allow the physical shading of the building and promote evapotranspiration in summer, and increase the thermal insulation in winter. The thermal effects of the façades at daytime was driven by solar radiation, wind velocity and air relative humidity. | 9.0°C | Max. Exterior walls temp reductions °C [Summer daytime] |  |  |  | Italy | Mediterranean climate | Experimental test was carried out at the University of Bari (Italy) for two years. Three vertical walls, made with perforated bricks, were tested: two were covered with evergreen plants (Pandorea jasminoides variegated and Rhyncospermum jasminoides) while the third wall was kept uncovered and used as control.
Green envelopes | Climbers. 25cm thick. | Eumorfopoulou and Kontoleon (2009) Experimental approach to the contribution of plant-covered walls to the thermal behavior of building envelopes. Building and Environment, 44 5. | 2009 | AS |  | 10.8oC | Max. Exterior walls temp reductions °C |  |  |  | Greece | Mediterranean climate | Experimental study. Mediterranean climate. Study carried out during the cooling period in the Greek region
Green façades | Climbers. Parthenocissus tricuspidata, Hedera helix and Fallopia baldschuanica. | Hoelscher et al (2016) Quantifying cooling effects of facade greening: shading, transpiration, and insulation. Energy Build. 114, 283–290. | 2016 | AS |  | 15.5 °C | Max. Exterior walls temp reductions °C |  |  |  | Berlin, Germany | Temperate-maritime climate | Experimental study. 3 building façades.
Green façade |  | Jimenez (2017) Green walls: a sustainable approach to climate change, a case study of London. Architectural science review | 2018 | AS |  | 12°C | Max Exterior walls temp reductions °C |  |  |  | London, UK | Temperate-maritime climate | Field study.
Green façades | Climbers | Susorova et al. (2013) A model of vegetated exterior facdes for evlauation of wall thermal performance, Building and environment, 67. 1-13. | 2013 | AS |  | 5.7oC | Max. exterior walls temp difference oC |  |  |  | Illinois Institute of Technology. Chicago | Continental | Modelling study. Heat transfer model. 1 sunny day. 1 cloudy day.
Vegetation |  | Skelhorn et al (2014) The impact of vegetation types on air and surface temperatures in a temperate city: a fine scale assessment in Manchester, UK. Landscape Urban Plan. 121, 129–140. | 2014 | AS |  | 3.2 °C | Max. Exterior walls temp reductions °C |  |  |  | England, UK | Temperate-maritime climate | ENVI-met modelling is validated against field measurements of air temperature.
Exterior wall temperature - Range
Green façades | Climbers. Ivy <10cm] | Sternberg et al. (2011) Evaluating the role of ivy (Hedera helix) in moderating wall surface microclimates and contributing to the bioprotection of historic buildings. Building and Environment, 46, 2, 293-297. | 2011 | AS |  | 1.7-9.15oC | Rng. Exterior daily max temp reductions °C |  |  |  | England, UK | Temperate-maritime climate | Field data. Collected data, during a year, on temperature and relative humidity in five ivy Traditional Green Façades (Hereda helix) in various England locations.
Green façades | Climbers | Susorova et al. (2013) A model of vegetated exterior facdes for evlauation of wall thermal performance, Buildingand environment, 67. 1-13. | 2013 | AS |  | 0.7-13.1oC | Rng. Exterior walls temp reductions °C [ Hot sunny days] |  |  |  | Illinois Institute of Technology. Chicago | Continental | Modelling study. Heat transfer model. 1 sunny day. 1 cloudy day.
Green façades | Climbers. Parthenocissus tricuspidata, Hedera helix and Fallopia baldschuanica. | Hoelscher et al (2016) Quantifying cooling effects of facade greening: shading, transpiration, and insulation. Energy Build. 114, 283–290. | 2016 | AS |  | 2.2-4.4°C | Rng. Exterior walls temp. reductions °C |  |  |  | Berlin, Germany | Temperate-maritime climate | Experimental study. 3 building façades.
Living walls | Studied three different kinds of living wall. Felt layer plus aluminium frame or bowl structure. With a range of plants, grass, evergreen. Substrate thickness 1-5cm. | Mazzali et al. (2013) Experimental investigation on the nergy performance of living walls in temperate climates. Building and Environment, 64, 57-66. | 2013 | AS | Shielding effects and thermal reduction | 12-20oC | Rng. Exterior walls temp reductions °C [sunny days]. |  |  |  | Mediterranean | Mediterranean climate | Experimental study. Three vertical gardens showed a similar behavior in similar climatic conditions.
Green façades | Climbers | Susorova et al. (2013) A model of vegetated exterior facdes for evlauation of wall thermal performance, Buildingand environment, 67. 1-13. | 2013 | AS |  | 0.7-13.1oC | Rng. Exterior walls temp reductions °C [Hot sunny days]. |  |  |  | Illinois Institute of Technology. Chicago | Continental | Modelling study. Heat transfer model. 1 sunny day. 1 cloudy day.
Living walls | Studied three different kinds of living wall. Felt layer plus alumnium frame or bowl structure. With a range of plants grass, evergreen. Substrate thickness 1-5cm. | Mazzali et al., (2013) Experimental investigation on the nergy performance of living walls in temperate climates. Building and Environment, 64, 57-66. | 2013 | AS | Shielding effects and thermal reduction | 1–2 °C | Rng. Exterior walls temp reductions °C [cloudy day] |  |  |  | Mediterranean | Mediterranean climate | Experimental study. Three vertical gardens showed a similar behavior in similar climatic conditions.
Ambient exterior air temperature
Green façades | Climber [ivy]. Urban Canyon. Diverse Climates. | Alexandri and Jones (2008) Temperature decreases in an urban canyon due to green walls and green roofs in diverse climates, Building and Environment, 43 ,480-493,. | 2008 | AS |  | 1.7-2.11oC | Rng. Daytime reductions in canyon air temp °C [summer] |  |  |  | Colder climates of London, Moscow and Montréal |  | Micro-scale modellling study. The hotter and drier a climate, the more important the effect of green walls and green roofs on mitigating urban temperatures. 8 cities. Combination of different walls and roof configurations/urban canyon specific. Canyon air temperature lowers the most when both walls and roofs are covered with vegetation in all climates examined.
Green façades | Climber [vines] growing on a metal trellis system and a non-commerical non-metal trellis. Range of species. | Tilley et al. (2012) Vegetated Walls: Thermal and Growth propoerties of structured green facades. Final Report to Green roods for healthy Cities - Green Walls Group. | 2012 | R |  | 1.4-1.8oC | Rng. Ambient air temp reductions oC [summer] |  |  |  | Clarksville, Maryland, USA | Humid sub-tropical climate | Experimental study. Ability to suppress urban heat island effect. Conducted a trial test using four identical buildings. Two of these cubic buildings (2.5 m2 x 3.5 m high) were greened on the East, South and West façades the other two were left un-greened as a control group. Influenced by orientation.
Green façades | Climbers | Hoyano (1988) Climatological uses of plants for solar control and the effects on the thermal environment of a building, Energy and Buildings, 11, 181-199. | 1988 | AS |  | 1–3 °C | Rng. Daytime reductions in ambient air temp °C [summer] [near wall] |  |  |  | Tokyo, Japan | Humid sub-tropical climate
Living wall system |  | Jimenez (2017) Green walls: a sustainable approach to climate change, a case study of London. Architectural science review | 2018 | AS |  | 0.5-4.1°C | Rng. Ambient air temp reductions up to 2m away |  |  |  | London, UK | Temperate-maritime climate | Field study.
Green façades | Climber [ivy]. Urban Canyon. Diverse Climates. | Alexandri and Jones (2008) Temperature decreases in an urban canyon due to green walls and green roofs in diverse climates, Building and Environment, 43 ,480-493,. | 2008 | AS |  | 2.6-3.2oC | Max. Daytime reductions in canyon air temp °C [summer] |  |  |  | Colder climates of London, Moscow and Montréal |  | Micro-scale modellling study. The hotter and drier a climate, the more important the effect of green walls and green roofs on mitigating urban temperatures. 8 cities. Combination of different walls and roof configurations/urban canyon specific. Canyon air temperature lowers the most when both walls and roofs are covered with vegetation in all climates examined.
Living walls | Wall shrubs and climbing plants. Brick wall using standard housing bricks. | Cameron et al. (2014) What’s ‘cool’in the world of green façades? How plant choice influences the cooling properties of green walls. Build Environ. 73, 198–207. | 2014 | AS |  | 3°C | Max. Ambient air temp reductions °C |  |  |  | Reading, UK | Temperate-maritime climate | Experimental study. University of Reading. Test walls.
Green façades | Climbers | Hough (2004) Cities and Natural Processes: A basis for sustainablity. Routledge. | 2004 | B |  | 5% | % Avg. daily temperature reductions at street level |  |  |  | International | Not specified | Review book.
Green façades | Climbers. Parthenocissus tricuspidata, Hedera helix and Fallopia baldschuanica. | Hoelscher et al. (2016) Quantifying cooling effects of facade greening: shading, transpiration, and insulation. Energy Build. 114, 283–290. | 2016 | AS |  | No difference in ambient air temp | n/a |  |  |  | Berlin, Germany | Temperate-maritime climate | Experimental study. 3 building façades.
Nightime insulation
Green façades | Climbers | Schettini et al. (2016) Green control of microclimate in buildings. Agric. Agric. Sci. Procedia 8, 576–582. | 2016 | AS |  | 4.4 °C | Avg. Exterior walls temp insulation °C |  |  |  | Bari, Italy | Mediterranean climate | Experimental study was carried out at the University of Bari.
Green façades | Climbers. 25cm thick. | Eumorfopoulou and Kontoleon (2009) Experimental approach to the contribution of plant-covered walls to the thermal behavior of building envelopes. Building and Environment, 44 5. | 2009 | AS |  | 1 to 2OC | Rng. Exterior wall nighttime insulation °C [winter] |  |  |  | Greece | Mediterranean climate | Experimental study. Mediterranean climate. Study carried out during the cooling period in the Greek region.
Green façades | Climbers. Ivy <45cm] | Sternberg et al. (2011) Evaluating the role of ivy (Hedera helix) in moderating wall surface microclimates and contributing to the bioprotection of historic buildings. Building and Environment, 46, 2, 293-297. | 2011 | AS |  | 0.64-3.88oC | Rng. Exterior daily temp minimum insulation °C |  |  |  | UK | Temperate-maritime climate | Field data. Collected data, during a year, on temperature and relative humidity in five ivy Traditional Green Façades (Hereda helix) in various England locations.
Green façades | Covered with evergreen plants | Vox et al (2018) Green façades to control wall surface temperature in buildings. Building and Environment, 129, 154-166. | 2018 | AS | Green façades can allow the physical shading of the building and promote evapotranspiration in summer, and increase thermal insulation in winter. The thermal effects of the façades at daytime was driven by solar radiation, wind velocity and air relative humidity. | 3.5 °C | Max. Exterior wall nighttime insulation °C [winter] |  |  |  | Italy. | Mediterranean climate | Experimental test was carried out at the University of Bari (Italy) for two years. Three vertical walls, made with perforated bricks, were tested: two were covered with evergreen plants (Pandorea jasminoides variegated and Rhyncospermum jasminoides) while the third wall was kept uncovered and used as control.
Green façades | Climbers. Ivy. 10-45cm | Sternberg et al. (2011) Evaluating the role of ivy (Hedera helix) in moderating wall surface microclimates and contributing to the bioprotection of historic buildings. Building and Environment, 46, 2, 293-297. | 2011 | AS |  | 15% | Avg. Exterior wall min temp insulation % |  |  |  | UK | Temperate-maritime climate | Field data. Collected data, during a year, on temperature and relative humidity in five ivy Traditional Green Façades (Hereda helix) in various England locations.

## Energy Use
Type | Spec | Evidence source | Date of publication | Evidence type | Benefit pathway | Physical flows | Units | Potential benefits for monetisation | Monetary value | Units | Location of the study | Climate Zone | Conditions and or limitations
Street trees, SuDS enabled stree trees or Urban forest/woodland | Street trees, SuDS enabled stree trees or Urban forest/woodland | Full reference (+hyperlink); Name of organisation, author or contact (date produced/contacted), Title of report/article/other, Name of publisher, place of publication | Year evidence produced | E.g. academic study or report | A simplified representation and example of the relationship between the NBS Type and outcomes in the benefit category that can be assessed. | Flow of benefits (e.g deposition of pollutant on leaf surfaces) | (E.g. Rate of deposition per day/annum) | Methodology for monetisation (e.g Quality of Life Adjusted Years) | £ or $ | e.g £ m2 | Country of origin | Climate | Specifics of the studies E.g. data was produced in an lab setting which may not be applicable for GM or average data etc.
Energy consumption for cooling
Green façades | Climbers (vines) | Bass et al. (2003) Evaluating rooftop and vertical gardens as an adaptation strategy for urban areas. Institute for Research and Construction, National Research Council Canada. | 2003 | Academic study | Shading roofs, walls and windows from incoming solar energy. They also provide additional insultation, which can reduce the amount of energy used for heating. | 23% | Avg. % reduction in energy consumption for cooling. |  |  |  | Toronto, Canada | Semi-continental climate. | Field study. Canada, the Earth Science Building at the University of Toronto was the site selected to evaluate the performance of vertical gardens.
Green façades | Climbers (vines) | Bass et al. (2003) Evaluating rooftop and vertical gardens as an adaptation strategy for urban areas. Institute for Research and Construction, National Research Council Canada. | 2003 | Academic study | Shading roofs, walls and windows from incoming solar energy. They also provide additional insultation, which can reduce the amount of energy used for heating. | 20% | Avg. % reduction in energy consumption for fans. |  |  |  | Toronto, Canada. | Semi-continental climate. | Field study. Canada, the Earth Science Building at the University of Toronto was the site selected to evaluate the performance of vertical gardens.
Green façades | Double skin | Stec (2005) Modelling the double skin façade with plants. Energy Build, 37, 419–27. | 2005 | Academic study |  | 20% | Avg. % reduction in energy consumption for cooling |  |  |  | TU Delft. The Netherlands | Temperate maritime climate | Modelling and experimental study.
Green façades | Indirect climber system. 25cm thick. | Kontoleon and Eumorfopoulou (2010). The effect of the orientation and proportion of aplant-covered wall layer on the thermal performance of a building zone. Build Environ, 45, 1287–303. | 2010 | Academic study |  | 12.6% | Avg. % reduction in energy consumption for cooling |  |  |  | Greece | Mediterranean climate | Modelling study. Thermal-network model. Measured coolling load reductions for various orientations.
Green façades |  | Hasan et al. (2012) Estimation of energy saving of commercial building by living wall and green facade in sub-tropical climate of Australia. In Zhang, H (Ed.) Proceedings of the 7th International Green Energy Conference and the 1st DNL Conference on Clean Energy. | 2012 | Conference paper |  | 8-40% | Rng. % reduction in energy consumption for cooling [commerical buildings] |  |  |  | Australia | Sub-tropical climtate | Field experiment. Commerical buildings. Range depends on orientation of the wall.
Green façades | Double skin. Mesh system. Ivy climber | Coma et al. (2017) Vertical greenery systems for energy savings in buildings: A comparative study between green walls and green facades. Building and the environment. 111, 228-237. | 2017 | Academic study | Shadow, insulation, evapotranspiration and wind barrier effects. VGS as passive system for energy savings in buildings. | 33.8% | Max % Energy saving [summer] |  |  |  | Catalonia, Spain. Mediterrian continental climate. | Mediterranean-continential climate | Experimental study. Used test construction 'cubicles'. For heating periods, no extra energy consumption was observed for evergreen system.
Green walls | Modular system filled with native shrubs. | Coma et al. (2017) Vertical greenery systems for energy savings in buildings: A comparative study between green walls and green facades. Building and the environment. 111, 228-237. | 2017 | Academic study | Shadow, insulation, evapotranspiration and wind barrier effects. VGS as passive system for energy savings in buildings. | 58.9% | Max % Energy saving [summer] |  |  |  | Catalonia, Spain. Mediterrian continental climate. | Mediterranean-continential climate | Experimental study. Used test construction 'cubicles'. For heating periods, no extra energy consumption was observed for evergreen system.
Total energy consumption
Green façades | Climbers (vines) | Bass et al. (2003) Evaluating rooftop and vertical gardens as an adaptation strategy for urban areas. Institute for Research and Construction, National Research Council Canada. | 2003 | Academic study | Shading roofs, walls and windows from incoming solar energy. They also provide additional insultation, which can reduce the amount of energy used for heating. | 8% | Avg. % Annual energy consumption |  |  |  | Toronto, Canada | Semi-continental climate. | Field study. Canada, the Earth Science Building at the University of Toronto was the site selected to evaluate the performance of vertical gardens.
Green façades |  | Arup (2016) Cities Alive Green Building Envelope, Arup Berlin Office. | 2016 | Report | Building walls are well insulated and solar gains are less critical. | 8% | Avg. % Reduction in mean energy consumption [commercial building] |  |  |  | UK | Temperate maritime climate | Review study. Typical office buildings. Several studies claim that energy reductions of 20 - 50% are possible with green façades.
Green façades | Indirect system with a climber | Sanchez (2014) International green wall conference, 4-5th September | 2014 | Conference paper |  | 9% | Avg. % Energy saving |  |  |  | London, UK | Temperate maritime climate | Modelling study. Life Cycle assessment. Comparison between cities.
Living walls | Succulents | Pan (2016) Carbon Sequestration and Thermal Performance of Vertical Greening, Doctoral dissertation, The Chinese University of Hong Kong, ProQuest LLC. | 2016 | Unpublished thesis |  | 16% | Avg. % Daily reduction in electricity consumption |  |  |  | Hong Kong | Sub-tropical climate | Review study
Living walls | Felt system | Sanchez (2014) International green wall conference, 4-5th September | 2014 | Conference paper |  | 14% | % Energy saving |  |  |  | London, UK | Temperate maritime climate | Modelling study. Life Cycle assessment. Comparison between cities.
Living walls | Three living wall systems: trellis system, planter box system, and felt layer system | Feng and Hewage (2014). Lifecycle assessment of living walls: Air purification and energy performance. Journal of Cleaner Production, 69, 91–99. | 2014 | Academic study |  | 37% | Max. % Energy saving |  |  |  | International | Not specified | Life cycle assessment
Living walls |  | Natarajan et al. (2014) Living wall systems: evaluating life-cycle energy, water and carbon impacts. Urban Ecosystems, 18, 1-11. | 2014 | Academic study |  | 1.8576 | Avg. Energy saving for climate 13oC KWh/month. | Payback period for a 1m2 segment of vertical garden. |  |  | International | Not specified | Life cycle analysis. Energy usage for three different climates. High temperature climates have the best pay back period.
Energy consumption for warming
Green façades | Double skin. Mesh system. Ivy. Climber. Air chamber 25cm. | Coma et al. (2017) Vertical greenery systems for energy savings in buildings: A comparative study between green walls and green facades. Building and the environment. 111, 228-237. | 2017 | Academic study | Shadow, insulation, evapotranspiration and wind barrier effects. VGS as passive system fro energy savings in buildings. | 1.9% | Avg. % Energy saving for heating |  |  |  | Catalonia, Spain. | Mediterranean continental climate. | Experimental study. Used test construction 'cubicles'. For heating periods, no extra energy consumption was observed for evergreen system. Comparison to the reference system. Question of whether extra energy consumption on the building was due to the interception of solar gains.
Green façades | Climber. Direct Green or Indirect greening system. | Ottelé et al. (2011) Comparative life cycle analysis for green facades and living wall systems. Energy and Buildings. 43, 12. 3419-3429. | 2011 | Academic study |  | 1.2% | Avg. % Energy saving for heating |  |  |  | International | Temperate climate. | Comparative life cycle assessment. Energy saving (calculated with Termo 8.0 software, Ottelé et al. 2011) for heating.
Green façades | Climber. Ivy. | Bolton et al. (2014) Effectiveness of an ivy covering at insulating a building against the cold in Manchester, U.K: a preliminary investigation. Building and Environment, 80, 32-35. | 2014 | Academic study |  | 8% | Max. % Energy savings [winter] |  |  |  | Manchester, UK | Temperate maritime climate | Field study. 1 building. Energy savings estimated based on insulating effect.
Green façades | Climber. Ivy. 30–80 mm | Cameron et al (2015) A Hedera green façade–Energy performance and saving under different maritime-temperate, winter weather conditions. Build. Environ. 92, 111–121. | 2015 | Academic study |  | 21-37% | Rng. % Energy saving [winter] |  |  |  | Reading, UK | Temperate maritime climate | Experimental study. Modelling. Used replicated, heated brick cuboids. Two winter seasons.
Living walls | Planter box system | Ottelé et al. (2011) Comparative life cycle analysis for green facades and living wall systems. Energy and Buildings. 43, 12. 3419-3429. | 2011 | Academic study |  | 6.3% | Avg. % Energy saving for heating |  |  |  | International | Temperate climate. | Energy saving (calculated with Termo 8.0 software, Ottelé et al. 2011) for heating,
Living walls | Felt system | Ottelé et al. (2011) Comparative life cycle analysis for green facades and living wall systems. Energy and Buildings. 43, 12. 3419-3429. | 2011 | Academic study |  | 4% | Avg. % Energy saving for heating |  |  |  | International | Temperate climate. | Energy saving (calculated with Termo 8.0 software, Ottelé et al. 2011) for heating,
Green walls | Modular system and native shrubs. | Coma et al. (2017) Vertical greenery systems for energy savings in buildings: A comparative study between green walls and green facades. Building and the environment. 111, 228-237. | 2017 | Academic study | Shadow, insulation, evapotranspiration and wind barrier effects. VGS as passive system fro energy savings in buildings. | 4.2% | Max. % Energy savings [winter] |  |  |  | Catalonia, Spain. | Mediterranean continental climate. | Experimental study. Used test construction 'cubicles'. For heating periods, no extra energy consumption was observed for evergreen system. Comparison to the reference system. Question of whether extra energy consumption on the building was due to the interception of solar gains.
Vertical greening systems | Any | Perini et al. (2012) Vertical greening systems, a process tree for green façades and living walls. Urban Ecosystems 16, 2, 265–277. | 2012 | Academic study |  | 1.2-6.3% | Rng. % Energy saving for heating |  |  |  | International | Temperate climate. | Review study. Surface temperature reductions with green walls compared to bare walls with dissimilar plant types.
Thermal resistance
Green façades | Climber. Well grown. Direct system. 20cm | Perini et al. (2011) Vertical greening systems and the effect on air flow and temperature on the building envelope. Build Environ 46, 2287-2294. | 2011 | Academic study | Thickness of the foliage creates a stagnant air layer and shades the façade as well as the water content, material properties, and possible air cavities formed between the different layers of leaves. | 0.09 | Avg. Increase in building’s thermal resistance m2 kW |  |  |  | Delft and Rotterdam, the Netherlands | Temperate climate. | Review study. Thermal transmittance of a building/construction is dependant, among other things, on the wind velocity that passes along the surface of the construction.
Living walls | Living wall system based on planter boxes.26cm | Perini et al. (2011) Vertical greening systems and the effect on air flow and temperature on the building envelope. Build Environ 46, 2287-2294. | 2011 | Academic study | Thickness of the foliage creates a stagnant air layer and shades the façade as well as the water content, material properties, and possible air cavities formed between the different layers of leaves. | 0.52 | Avg. Increase in building’s thermal resistance m2 kW |  |  |  | Delft and Rotterdam, the Netherlands | Temperate climate. | Review study. Thermal transmittance of a building/construction is dependant, among other things, on the wind velocity that passes along the surface of the construction.
Living walls | Vegetation cladding | Cheng et al. (2010) Thermal performance of a vegetated cladding system on facade walls. Build. Environ. 45, 8, 1779–1787. | 2010 | Academic study | Reduce solar heat transfer to the wall, but also kept the wall warm at midnight by buffering and delaying the heat transfer through the façade wall. | 0.03 | Avg. Increase in building’s thermal resistance m2 kW [afternoon] |  |  |  | Hong Kong. | Sub-tropical climate | Experimental study. Bare walls showed peaks that exceed 40W/m2 in the afternoon. In vegetated panels the heat flux only fluctuated below 10W/m2.
Living walls | Vertical greening systems [50% greenery coverage on a glass façade] | Wong et al. (2009) Energy simulation of vertical greenery systems. Energy and Buildings, 41, 12, 1401–1408. | 2009 | Academic study | Reduction in mean radiant temperature values as there is no heat transfer through outdoor solar radiation. | 40.68% | Avg. % reduction in Thermal transfer value [glass façade building] |  |  |  | Singapore | Sub-tropical climate | Modelling study.
Living walls | Vegetation cladding | Cheng et al. (2010) Thermal performance of a vegetated cladding system on facade walls. Build. Environ. 45, 8, 1779–1787. | 2010 | Academic study | Reduced solar heat transfer to the wall, but also kept the wall warm at midnight by buffering and delaying the heat transfer through the façade wall. | 60% | Avg. % reduction in Thermal transfer value |  |  |  | Hong Kong. | Sub-tropical climate | Experimental study.
Living walls |  | Mazzali et al. (2013) Epxertimental investigation on the nergy performance of living walls in temperate climates. Building and Environment, 64, 57-66. | 2013 | Academic study |  | 70–80% | Rng. % reduction in Thermal transfer value |  |  |  | Italy | Mediterranean continental climate. | Green walls (18–30 W/m2) compared to a bare wall (90–100W/m2)]

## Health & Wellbeing
Type | Spec | Evidence source | Date of publication | Evidence type | Benefit pathway | Physical flows | Units | Potential benefits for monetisation | Monetary value | Units | Location of the study | Conditions and or limitations
Street trees, SuDS enabled stree trees or Urban forest/woodland | Specifics of the study site and or of the study | Full reference (+hyperlink); Name of organisation, author or contact (date produced/contacted), Title of report/article/other, Name of publisher, place of publication | Year evidence produced | E.g. academic study or report | A simplified representation and example of the relationship between the NBS Type and outcomes in the benefit category that can be assessed. | Flow of benefits (e.g deposition of pollutant on leaf surfaces) | (E.g. Rate of deposition per day/annum) | Methodology for monetisation (e.g Quality of Life Adjusted Years) | £ | (e.g £ per annum) | City, Country, or Meta-analyis | E.g. data was produced in an lab setting which may not be applicable for GM or average data etc.
Wellbeing and mental health
Green façades |  | Elsadek et al. (2019) Green façades: Their contribution to stress recovery and well-being in high-density cities. Urban Forestry & Urban Greening. Volume 46, December 2019, 126446 | 2019 | Academic study | ‘Restoration’ effects. Viewing a green façade has physiological relaxing effects such as higher alpha wave activity | Green façade appears to enhance human physiological and psychological relaxation compared to the building wall. | n/a |  |  |  | China | Physiological and psychological effects of viewing a green façade were investigated. Viewing a green façade has physiological relaxing effects such as higher alpha wave activity. Visual contact with the green façade leads to a relaxed and positive mood. Twenty-five Chinese females.
Green walls | Indoor classroom environment. Children only. | van de Berg et al (2016) Green Walls for a Restorative Classroom Environment: A Controlled Evaluation Study. Environment and Behaviour. 12. | 2016 | Academic study |  | Children in four classrooms where a green wall was placed, scored better on a test for selective attention than the children in control groups. | n/a |  |  |  | The Netherlands | Evaluated the restorative impacts of green walls with living plants in classrooms at two elementary schools. Used a controlled, prospective design with baseline measurements and follow-ups at 2 and 4 months. At each time of measurement, children’s (n = 170, age = 7-10) cognitive performance, well-being, and classroom evaluations were measured with attentional tests and self-report questionnaires. Results show that children in the four classrooms where a green wall was placed, compared to children in control groups, scored better on a test for selective attention. Processing speed was not affected by the green wall.
Plants | Indoor plants | Lohr et al (2010) What Are the Benefits of Plants Indoors and Why Do We Respond Positively to Them? What Are the Benefits of Plants Indoors and Why Do We Respond Positively to Them? | 2010 | Academic study |  | People reported feeling more attentive in rooms with plants than without (3.8 vs. 3.3, respectively, on a scale from 1 = not at all to 5 = very much). | n/a |  |  |  | US | Review study. Not specific to green walsl
Plants | Indoor plants | Lohr et al (2010) What Are the Benefits of Plants Indoors and Why Do We Respond Positively to Them? What Are the Benefits of Plants Indoors and Why Do We Respond Positively to Them? | 2010 | Academic study |  | People felt significantly more “carefree or playful” and more “friendly or affectionate” in the room with interior plants than in the room with or without decorative objects | n/a |  |  |  | US | Review study. Not specific to green walsl
Plants | Indoor plants | Lohr and Pearson-Mims (2000). Physical discomfort may be reduced in the presence of interior plants. HortTechnol. 10:53–58. | 2000 | Academic study |  | The presence of plants in the room helped to reduce mental fatigue, increased attentiveness, lowered blood pressure, and increased productivity of participants | n/a |  |  |  | US | Experimental study designed to further examine the role of plants in pain perception. Not specific to green walls
Plants | Indoor plants | Dravigne et al. (2008) The effect of live plants and window views of green spaces on perceptions of job satisfaction. HortSci. 43:183-187. | 2008 | Academic study |  | 60% of people working in offices without plants, whether they had views of green or not, reported feeling “content” or “very happy,” while 69% of people working in offices with plants but no windows and 82% of those with both plants and window views were “content” or “very happy | n/a |  |  |  | Texas and the Midwest, US | Not specific to green walls. A job satisfaction survey was posted on the Internet and administered to office workers in Texas and the Midwest. The survey included questions regarding job satisfaction, physical work environments, the presence or absence of live interior plants and windows, environmental preferences of the office workers, and demographic information. Approximately 450 completed responses were included in the final sample.
Plants | Indoor plants | Lohr et al. (1996) Interior plants may improve worker productivity and reduce stress in a windowless environment. J. Environ. Hort. 14:97-100. | 1996 | Academic study |  | Reaction time in the presence of plants was 12% faster than in the absence of plants, indicating that plants contributed to increased productivity. | n/a |  |  |  | Washington, US | Not specific to green walls. Participants' blood pressure and emotions were monitored while completing a simple, timed computer task in the presence or absence of plants. When plants were added to this interior space, the participants were more productive (12% quicker reaction time on the computer task) and less stressed (systolic blood pressure readings lowered by one to four units).
Plants | Indoor plants | Tennessen and Cimprich (1995) Views to nature: Effects on attention. J. Environ. Psychol. 15:77-85. | 1995 | Academic study |  | The students living in dorm rooms looking out over nature, such as trees and grass, were less mentally fatigued and more productive than those with views of a built environment, such as sidewalks and parking lots. | n/a |  |  |  | Midwestern university, US | Not specific to green walls. Views from dormitory windows of 72 undergraduate students were categorized into four groups ranging from all natural to all built. The capacity to direct attention was measured using a mixture of objective and subjective measures.
Plants | Outdoor | Safikhani et al. (2014) A review of energy characteristic of vertical greenery systems. Renewable and Sustainable Energy Reviews, 40, 450–462. | 2014 | Academic study |  | Plants in urban areas or buildings attract people more than gardens and they are considered to be psychologically helpful for reducing stress and lowering obesity. | n/a |  |  |  | Malaysia | Not specific to green walls. Review study.
Urban green vegetation | View of vegetation, as opposed to no view | The California Energy Commission (2003) Windows and Offices: A Study of Office Worker Performance and the Indoor Environment. Technical report. | 2003 | Report | Labour productivity | 10-25% | % improvement on tests of memory function and recall |  |  |  | Sacramento, US | Not specific to green walls. This study reports on a statistical investigation into the influences that an indoor physical environment can have on office workers performances, especially natural light and a view, as well as ventilation and comfortable temperatures. Two different studies were conducted at the same organization, the Sacramento Municipal Utility District. The first study looked at 100 workers in an incoming call centre, whose performances were continuously tracked by a computer system and measured in terms of time taken to handle each call. The second “Desktop” study examined the performance of 200 other office workers on a series of short cognitive assessment tests, taken at each individual's desktop computer. Extensive data was collected about the physical environment at each office worker's cubicle.
Recovery
Nature | View of nature | Ulrich (1984) View through a window may influence recovery from surgery. Science 224:420–421. | 1984 | Academic study |  | People recovered more quickly from surgery if they had a view of trees from their hospital room rather than a view of a wall. | n/a |  |  |  | Pennsylvania, US | Not specific to green walls. Patients recovery records after cholecystectomy were examined to determine whether assignment to a room with a window view of a natural setting might have restorative influences. Study in a suburban Pennsylvania hospital between 1972 and 1981. Twenty-three surgical patients were assigned to rooms with windows looking out on a natural scene and experienced shorter post-operative hospital stays, received fewer negative evaluative comments in nurses' notes, and took fewer potent analgesics, compared to 23 matched patients in similar rooms with windows facing a brick building wall.
Pain
Nature | View of nature | Ulrich (1984) View through a window may influence recovery from surgery. Science 224:420–421. | 1984 | Academic study |  | Patients, who were experiencing acute pain, also used fewer doses of strong pain medications if their rooms had a view of trees | n/a |  |  |  | Pennsylvania, US | Not specific to green walls. Patients recovery records after cholecystectomy were examined to determine whether assignment to a room with a window view of a natural setting might have restorative influences. Study in a suburban Pennsylvania hospital between 1972 and 1981. Twenty-three surgical patients were assigned to rooms with windows looking out on a natural scene and experienced shorter post-operative hospital stays, received fewer negative evaluative comments in nurses' notes, and took fewer potent analgesics, compared to 23 matched patients in similar rooms with windows facing a brick building wall.
Nature | View of nature | Lohr and Pearson-Mims (2008) People's response to discomfort in the presence of interior plants or art. Acta Hort. 790:173-178. | 2008 | Academic study |  | Perceptions of physical discomfort were lower in the room with plants than in the room without plants or the room with colourful objects. | n/a |  |  |  | US | Not specific to green walls. Participant study
General health
Plants | Indoor plants | Fjeld (2000) The effect of interior planting on health and discomfort among workers and school children. HortTechnol. 10:46-52. | 2000 | Academic study |  | Workers in an office with foliage plants reported fewer physical symptoms, including coughing, hoarse throat, and fatigue, than when no plants were present. | n/a |  |  |  | Norway | Not specific to green walls. Study assessed the effect of foliage plants or a combination of foliage plants and full-spectrum fluorescent lamps on self-reported health and discomfort complaints. Looked at three different work environments: an office building, an X-ray department in a Norwegian hospital, and a junior high school. Health and discomfort symptoms were found to be 21% to 25% lower during the period when subjects had plants or plants and full-spectrum lighting present compared to a period without plants.

## Noise
Type | Spec | Evidence source | Date of publication | Evidence type | Benefit pathway | Physical flows | Units | Potential benefits for monetisation | Monetary value | Units | Location of the study | Conditions and or limitations
Street trees, SuDS enabled stree trees or Urban forest/woodland | Specifics of the study site and or of the study | Full reference (+hyperlink); Name of organisation, author or contact (date produced/contacted), Title of report/article/other, Name of publisher, place of publication | Year evidence produced | E.g. academic study or report | A simplified representation and example of the relationship between the NBS Type and outcomes in the benefit category that can be assessed. | Flow of benefits (e.g deposition of pollutant on leaf surfaces) | (E.g. Rate of deposition per day/annum) | Methodology for monetisation (e.g Quality of Life Adjusted Years) | £ | (e.g £ per annum) | City, Country, or Meta-analyis | E.g. data was produced in an lab setting which may not be applicable for GM or average data etc.
Green walls | Inside a courtyard | ten Brink et al. (2016) The Health and Social Benefits of Nature and Biodiversity Protection. A report for the European Commissision. | 2016 | Report |  | 4 | Avg. Sound reduction dB |  |  |  | International
Green walls & façades (shrubs and climbers) |  | Pérez-Urrestarazu et al. (2016): Vertical Greening Systems and Sustainable Cities, Journal of Urban Technology. | 2016 | Academic study | Acoustic insulation | 1 | Avg. Sound reduction dB (traffic noise) |  |  |  | Spain
Green walls & façades (shrubs and climbers) |  | Pérez-Urrestarazu et al. (2016): Vertical Greening Systems and Sustainable Cities, Journal of Urban Technology. | 2016 | Academic study | Acoustic insulation | 3 | Avg. Sound reduction dB (pink noise e.g steady rain or wind) |  |  |  | Spain
Living walls | Module (closely planted shrubs) | Azkorra et al. (2015) Evaluation of green walls as a passive acoustic insulation system. Applied Acoustics 89, 46-56. | 2015 | Academic study | Acoustic absorption via vegetation. Green wall reduced airborne noise; less reverberation time and high sound absorption coefficient. | 15 | Avg. Sound reduction dB |  |  |  | International | Green façade module consisting of closely planted shrubs
Living walls | 19.2 metre wall | Veisten et al. (2012) Valuation of Green Walls and Green Roofs as Soundscape Measures: Including Monetised Amenity Values Together with Noise-attenuation Values in a Cost-benefit Analysis of a Green Wall Affecting Courtyards Int. J. Environ. Res. Public H. | 2012 | Academic study | Acoustic absorption via vegetation | 4.5 | Avg. Sound reduction dB for a 19.2 metre wall. |  | €1.2-5.8 | per m2 / household / year (mean survey value) (2010 prices) | Europe | Hedonic pricing study. Mean survey value
Living walls |  | Wong et al. (2010) Acoustics evaluation of vertical greenery systems for building walls. Building and Environment 45, 2, 411–420. | 2010 | Academic study | Acoustic absorption via vegetation | 5-10dB | Rng. Sound reduction dB |  |  |  | Singapore | Low to middle frequency ranges for a number of the tested planter systems. Wong also tested a green wall panel internally in a reverberation chamber; his findings suggest that use of green walls internally can provide a higher sound absorption coefficient than many other materials, which could be useful for speech privacy.
Green façades |  | Jeon et al (2013) ‘HOSANNA Work Package 5 Deliverable 5.7’ Technical Report. | 2013 | Report | Acoustic absorption via vegetation | 1.6dB | Max. Sound reduction dB (traffic) |  |  |  | International | Absorbing barriers of low height (about 1 m) can provide an excess attenuation of at least 8 dBA for a 1.5 m high receiver and 6 dBA for a 4 m high receiver for urban road traffic noise situations (driving speed 50 km/h and a proportion of 5 % heavy vehicles). By adding inter-lane barriers, noise from road vehicles as well as from trams can be reduced by more than 10 dBA
Green façades |  | Ismail (2013) Quiet environment: Acoustics of vertical green wall systems of the Islamic urban form. Frontiers of Architectural Research, 2, 162-177. | 2013 | Academic study | Sound propagation through the urban fabric is influenced by a variety of geometrical parameters such as street width and building height, as well as the acoustic characteristics of the materials used to build the façade walls. Sound is absorbed by vegetation rather than refracted. | 2-5dB | Rng. Sound reduction dB (single point source) |  |  |  | International | Effects are more important in hot climates, where the topology of the dense urban landscape means building walls have larger areas than exposed streets, thereby amplifying the effects of the former's acoustic characteristics on noise levels.
Living walls | Indoor sound reduction | Köhler. (2008) Green facades—A view back and some visions. Urban Ecosyst, 11:423–436. | 2008 | Academic study | Acoustic absorption via vegetation | 2-5dB | Rng Sound reduction dB (indoors) |  |  |  | International | Review study. Green walls are also effective at reducing reflections of sounds in confined spaces, like street canyons
Living walls | Module (closely planted shrubs) | Azkorra et al. (2015) Evaluation of green walls as a passive acoustic insulation system. Applied Acoustics 89, 46-56. | 2015 | Academic study | Sound reduction dB (emergent and traffic noise sources) | 50% | % sound energy reduction |  |  |  | International | Green façade module consisting of closely planted shrubs. Sound reduction by 50% of the sound energy it was exposed to across a broad frequency spectrum.

## Land and Property Values
Type | Spec | Evidence source | Date of publication | Evidence type | Benefit pathway | Physical flows | Units | Potential benefits for monetisation | Monetary value | Units | Location of the study | Conditions and or limitations
Street trees, SuDS enabled stree trees or Urban forest/woodland | Specifics of the study site and or of the study | Full reference (+hyperlink); Name of organisation, author or contact (date produced/contacted), Title of report/article/other, Name of publisher, place of publication | Year evidence produced | E.g academic study or report | A simplified representation and example of the relationship between the NBS Type and outcomes in the benefit category that can be assessed. | Flow of benefits (e.g deposition of pollutant on leaf surfaces) | (E.g. Rate of deposition per day/annum) | Methodology for monetisation (e.g Quality of Life Adjusted Years) | £ | (e.g £ per annum) | City, Country, or Meta-analyis | E.g. data was produced in an lab setting which may not be applicable for GM or average data etc.
Property value uplift
Green façades | Climbers | Perini and Rosasco (2016) Is greening the building envelope economically sustainable? An analysis to evaluate the advantages of economy of scope of vertical greening systems and green roofs. Urban Forestry & Urban Greening, 20, 328–337. | 2016 | Academic study |  | 2.5% | Avg. % uplift in property value |  | 903.14 | Annualised value of VGS | Italy
Green walls and roofs |  | Peck et al (1999) Greenbacks from Green Roofs: Forging a New Industry in Canada. Status Report on Benefits, Barriers and Opportunities for Green Roof and Vertical Garden Technology Diffusion; Peck & Associates (P&A): Toronto. | 1999 | Academic study |  | 6-15% | Rng. % uplift in property value | Value increase of 6–15%, midpoint of 10.5%. | 20 | Annualised m2 value of green roofs and walls to one household /dwelling (2010) | Toronto, Canada | Peck et al. described both green roofs and green walls, assessing the market possibilities in Toronto (Canada). They assumed that these vegetation measures would yield the same property increase as “good tree cover”; and they found an annualised square metre value of green roofs and walls of approximately EUR 20 (2010 Euro value) in Toronto.
Green walls |  | Hunt (2008). Green house values. Tierra Grande, 15, 2. | 2008 | Academic study |  | 3-15% | Rng. % uplift in property value |  | 18 | Annualised m2 value of green roofs and walls to one household [2008] | Texas, US
Green walls |  | Tomalty & Komorowski (2010) The Monetary Value of the Soft Benefits of Green Roofs. Final report. Smart Cities Research Services: Montreal, 2010. | 2010 | Academic study |  | 7-20% | Rng. % uplift in property value |  | $22-63 |  | Canada
Green walls |  | Veisten et al. (2012) Valuation of Green Walls and Green Roofs as Soundscape Measures: Including Monetised Amenity Values Together with Noise-attenuation Values in a Cost-benefit Analysis of a Green Wall Affecting Courtyards Int. J. Environ. Res. Public H. | 2012 | Academic study | Non-acoustic amenity effects | n/a | n/a | Annual aesthetic benefit | 2.47 | €/per person per m2 green wall | Europe | Mean of these value estimates in this study. Unit values will be weighted averages of estimates from reviewed studies, given as a Euro price per square meter green roof/wall, an annual valuation per affected person or household. Modelling study. Covering the entrances to blocks of flats with a green wall.
Green walls |  | Veisten et al. (2012) Valuation of Green Walls and Green Roofs as Soundscape Measures: Including Monetised Amenity Values Together with Noise-attenuation Values in a Cost-benefit Analysis of a Green Wall Affecting Courtyards Int. J. Environ. Res. Public H. | 2012 | Academic study | Non-acoustic amenity effects | n/a | n/a | Annual aesthetic benefit | 18.7 | €/per m2 green wall | Europe | Mean of these value estimates in this study. Unit values will be weighted averages of estimates from reviewed studies, given as a Euro price per square meter green roof/wall, an annual valuation per affected person or household. Modelling study. Covering the entrances to blocks of flats with a green wall.
Land value uplift
Landscaping |  | Gao, X.; Asami, Y. Effect of urban landscapes on land prices in two Japanese cities. Landscape Urban Plan. 2007, 81, 155–166. | 2007 | Academic study |  | 1.4% | Avg. % uplift in land price | Land price increase by 1.4% (Tokyo) | 3.5 | per m2 green wall | Tokyo, Japan | Assumes 25 m2 as a green wall quantity approximation to (each of) the two quality levels (25 m2 greenery for level 0 and an additional 25 m2 greenery for level +1), the resulted unit value estimates is, respectively, ca EUR 3.5 per square metre green wall in Tokyo and ca EUR 1 in Kitakyushu.
Landscaping |  | Gao, X.; Asami, Y. Effect of urban landscapes on land prices in two Japanese cities. Landscape Urban Plan. 2007, 81, 155–166. | 2007 | Academic study |  | 2.7% | Avg. % uplift in land price | Land price increase by 2.7% (Kitakyushu). | 1 | per m2 green wall | Kitakyushu, Japan. | Land price increase by 1.4% (Tokyo) and by 2.7% (Kitakyushu). If we assume 25 m2 as a green wall quantity approximation to (each of) the two quality levels (25 m2 greenery for level 0 and an additional 25 m2 greenery for level +1), the resulted unit value estimates is, respectively, ca EUR 3.5 per square metre green wall in Tokyo and ca EUR 1 in Kitakyushu.
Rent price uplift
Green roofs |  | Ichihara, K.; Cohen, J.P. New York City property values: What is the impact of green roofs on rental pricing? Lett. Spatial Resour. Sci. 2011, 4, 21–30. | 2011 | Academic study |  | n/a | n/a |  | 17 | per m2 green roof | New York | Relative to an annual rental price of USD 4,000, a unit value per square metre green roof of ca EUR 17 can be estimated
Building durability
Green envelopes |  | Hasan et al. (2012) Estimation of energy saving of commercial building by living wall and green facade in sub-tropical climate of Australia. | 2012 | Academic study |  | Green envelope reduces the quantity of UV light and has a positive effect on building durability. | n/a |  |  |  | Australia
Green walls |  | CRCWSC. (2017). Adoption and testing guidelines for green technologies for greywater and stormwater treatment, (May). Melbourne, Australia: Cooperative Research Centre for Water Sensitive Cities | 2017 | Report |  | Both green façades and living walls may provide protection for building walls and delay wall degradation, and reduce the need for continual renovation of the wall. | n/a |  |  |  | Melbourne, Australia

## Amenity
Type | Spec | Evidence source | Date of publication | Evidence type | Benefit pathway | Physical flows | Units | Potential benefits for monetisation | Monetary value | Units | Location of the study | Conditions and or limitations
e.g living walls | Specifics of the study site and or of the study | Full reference (+hyperlink); Name of organisation, author or contact (date produced/contacted), Title of report/article/other, Name of publisher, place of publication | Year evidence produced | E.g academic study or report | A simplified representation and example of the relationship between the NBS Type and outcomes in the benefit category that can be assessed. | Flow of benefits (e.g deposition of pollutant on leaf surfaces) | (E.g. Rate of deposition per day/annum) | Methodology for monetisation (e.g Quality of Life Adjusted Years) | £ | (e.g £ per annum) | City, Country, or Meta-analyis | E.g. data was produced in an lab setting which may not be applicable for GM or average data etc.
Living walls |  | Sutton. 2014. Aesthetics for green roofs and green walls J. Living Archit., 1. pp. 1-15 | 2014 | Academic study |  | Living walls and green roofs can play a key role in promoting a liveable environment | n/a |  | Welfare gain (based on increased QALYs)/Avoided costs to society (through increased physical health) |  | International | Theoretical study
Urban vegetation |  | White, E and Gatersleben, BCM (2011) Greenery on UK Residential Buildings: Does it affect preferences and perceptions of beauty? Journal of Environmental Psychology, 31 (1). pp. 89-98 | 2011 | Academic study |  | Houses with building-integrated vegetation were more preferred and considered more beautiful, aesthetically pleasing, and restorative than those without vegetation. | n/a |  |  |  | UK | Study examined whether houses with vegetation would be preferred to those without, be perceived as more beautiful and restorative, and have a more positive affective quality. Differences between types of building-integrated vegetation were also examined. Two studies were conducted: an online survey in which participants (N = 188) rated photographs of houses with and without vegetation on each of these measures, and interviews (N = 8) which examined preference and installation concerns.

## Biodiversity
Type | Spec | Evidence source | Date of publication | Evidence type | Benefit pathway | Physical flows | Units | Potential benefits for monetisation | Monetary value | Units | Location of the study | Conditions and or limitations
E.g. living wall or green façade | Specifics of the study site and/or of the study | Full reference (+hyperlink); Name of organisation, author or contact (date produced/contacted), Title of report/article/other, Name of publisher, place of publication | Year evidence produced | E.g. academic study or report | A simplified representation and example of the relationship between the NBS Type and outcomes in the benefit category that can be assessed. | Flow of benefits (e.g deposition of pollutant on leaf surfaces) | (E.g. Rate of deposition per day/annum) | Methodology for monetisation (e.g Quality of Life Adjusted Years) | £ | (e.g £ per annum) | City, Country, or Meta-analyis | E.g. data was produced in an lab setting which may not be applicable for GM or average data etc.
Green roofs and walls |  | Chiquet et al. (2012) Birds and the urban environment: the value of green walls. Urban Ecosystems 16, 3, 453–462. | 2012 | Academic study |  | The roofs of buildings and the surrounding vegetation were used by birds in both regimes. | Birds |  |  |  | Staffordshire, UK | Study explored the abundance of birds on 27 green walls and within the a 10 m radius, enclosed by a semi-circle of 10 m radius. This was compared to 27 walls without vegetation (bare walls) and similar surroundings. The study was carried out during the summer and winter of 2010–11 in north Staffordshire (UK).
Green roofs and walls |  | Chiquet et al. (2012) Birds and the urban environment: the value of green walls. Urban Ecosystems 16, 3, 453–462. | 2012 | Academic study |  | Birds were more abundant in areas with green walls. Birds utilised the green walls for various reasons (including nesting, food and shelter) but were never found on bare control walls. | Birds |  |  |  | Staffordshire, UK | Study explored the abundance of birds on 27 green walls and within the a 10 m radius, enclosed by a semi-circle of 10 m radius. This was compared to 27 walls without vegetation (bare walls) and similar surroundings. The study was carried out during the summer and winter of 2010–11 in north Staffordshire (UK).
Green roofs and walls |  | Chiquet et al. (2012) Birds and the urban environment: the value of green walls. Urban Ecosystems 16, 3, 453–462. | 2012 | Academic study |  | Birds utilised the green walls for various reasons (including nesting, food and shelter) but were never found on bare control walls. | Birds |  |  |  | Staffordshire, UK | Study explored the abundance of birds on 27 green walls and within the a 10 m radius, enclosed by a semi-circle of 10 m radius. This was compared to 27 walls without vegetation (bare walls) and similar surroundings. The study was carried out during the summer and winter of 2010–11 in north Staffordshire (UK).
Living walls |  | Bolhuis (2016). Bird use of living walls in the city of Bogata, Colombia. Report. | 2016 | Report | Living walls have been recognized as a habitat improvement technique that may be valuable in the framework of reconciliation ecology, | Living walls are of value to birds in Bogotá because they provide resources such as food, nesting sites and perching elements, demonstrating that living walls can satisfy the conditions of reconciliation ecology. Only a few common urban species use living walls, mostly for foraging. A single species, the Rufous-collared Sparrow (Zonotrichia capensis), nested in living walls, with a preference for the taller walls. | Birds |  |  |  | Colombia | Study of 13 living walls. Plant composition is an important attribute of living walls.
Green façades |  | Köhler (1993) Fassaden- und Dachbergrunung. Ulmer Fachbuch Landschafts- und Grunplanung, Stuttgart. | 1993 | Report |  | Sparrows, blackbirds and greenfinches were found between the climbers of green façades | Birds |  |  |  | Berlin, Germany.
Green walls/Vertical Gardens |  | Timur and Karaca (2013) Vertical Gardens. In Advances in Landscape Architecture, 1st ed.; Ozyavuz, M., Ed.; IntechOpen: London, UK, pp. 587–622. Timur, Ö.B.; Karaca, E. Vertical Gardens. 2013. In Advances in Landscape Architecture, 1st ed.; Ozyavuz. | 2013 | Book | Provision of habitat | Green façades and living walls can attract birds and butterflies when attractive plant species are carefully chosen and planted. | Birds and butterflies |  |  |  | International | Green façades and living walls can attract birds and butterflies when attractive plant species are carefully chosen and planted. Green Walls can be designed to provide the ideal conditions for birds, bees and butterflies to survive. They can provide water, food sources, protection, and places to bear and raise offspring.
Green façades |  | Belcher et al (2018) Vegetation on and around large-scale buildings positively influences native tropical bird abundance and bird species richness. Urban ecosystems. | 2018 | Academic study |  | Large green walls supported a higher richness and abundance of urban native birds than control roofs and walls without vegetation. | Birds |  |  |  | Tropical study | Green walls and roofs were not found to benefit tropical forest habitat specialists. Dense and Green buildings had a higher mean bird species richness (5) than Normal Dense buildings (0.83).
Green façades | Climbers, mosses & shrubs | Madre et al. (2015) Building biodiversity: Vegetated façades as habitats for spider and beetle assemblages. Global Ecology and Conservation. 3, 222-233. | 2015 | Academic study |  | Research shows the capacity of vegetated façades to shelter arthropods. | Arthropod abundance |  |  |  | Paris, France | Assessed 4 types of façades, including three types of vegetated façades. Studied 33 façades located around Paris.
Green façades | Climbers, mosses & shrubs | Madre et al. (2015) Building biodiversity: Vegetated façades as habitats for spider and beetle assemblages. Global Ecology and Conservation. 3, 222-233. | 2015 | Academic study |  | High abundance of beetles (254 specimens, 31 species) and spiders (356 specimen, 31 species) and attracted ladybirds | Arthropod abundance |  |  |  | Paris, France | Assessed 4 types of façades, including three types of vegetated façades. Studied 33 façades located around Paris.
Green façades and walls |  | Madre et al. (2015) Building biodiversity: Vegetated façades as habitats for spider and beetle assemblages. Global Ecology and Conservation. 3, 222-233. | 2015 | Academic study |  | Living walls attract more living organisms than green façades | Arthropod abundance |  |  |  | Paris, France | Assessed 4 types of façades, including three types of vegetated façades. Studied 33 façades located around Paris.
Green walls |  | Mayrand, F. and Clergeau, P. (2018). Green Roofs and Green Walls for Biodivesity Conservation: A Contribution to Urban Connectivity? Sustainability, 10, 985. | 2018 | Academic study |  | Not supportive | n/a |  |  |  | Not stated | Theoretical study
Green walls |  | Francis and Lorimer (2011) Urban reconciliation ecology: The potential of living roofs and walls. J. Environ. Manage., 92, 1429–1437. | 2011 | Academic study |  | Create habitats for plants and animals on land that is being directly used by humans as living space. | n/a |  |  |  | Not stated
Green walls |  | Collins et al. (2017). The value of green walls to urban biodiversity. Land use policy, 6:114-123. | 2017 | Academic study |  |  | n/a | Willingness to pay for urban biodiversity improvements via green walls. | 10 | Approx. £ per household | UK | Survey. Willingness to pay.
Green walls |  | Collins et al. (2017). The value of green walls to urban biodiversity. Land use policy, 6:114-123. | 2017 | Academic study |  |  | n/a | Willingness to pay for urban biodiversity improvements via green walls. | 21 | £ per household [for those who are familiar with the concept of biodiversity] | UK | Survey. Willingness to pay.

## Local economic growth
Type | Spec | Evidence source | Date of publication | Evidence type | Benefit pathway | Physical flows | Units | Potential benefits for monetisation | Monetary value | Units | Location of the study | Conditions and or limitations
E.g. living wall | Specifics of the study site and or of the study | Full reference (+hyperlink); Name of organisation, author or contact (date produced/contacted), Title of report/article/other, Name of publisher, place of publication | Year evidence produced | E.g. report or academic study | A simplified representation and example of the relationship between the NBS Type and outcomes in the benefit category that can be assessed. | Flow of benefits (e.g deposition of pollutant on leaf surfaces) | (E.g. Rate of deposition per day/annum) | Methodology for monetisation (e.g Quality of Life Adjusted Years) | £ | (e.g £ per annum) | City, Country, or Meta-analyis | E.g. data was produced in an lab setting which may not be applicable for GM or average data etc.
Urban green vegetation | Not specific to green walls | CABE (2005) Does money grow on trees? Report. CABE. | 2005 | Report |  | High quality green spaces can help businesses build a good image and reputation, which will encourage inward investment and employment into an area. | n/a |  |  |  | UK
Urban green vegetation | Not specific to green walls | CABE/DETR (2001) The value of urban design. Report, CABE. | 2001 | Report |  | Prestige and image were important factors for occupiers in choosing a place to locate, particularly among UK-based businesses whose clients visited frequently. | n/a |  |  |  | UK
Worker productivity and innovation
Urban green vegetation |  | Nieuwenhuis et al. (2014). The relative benefits of green versus lean office space: Three field experiments. Journal of Experimental Psychology: Applied, 20, 3, 199–214. | 2020 | Academic study | We get bored with visually unstimulating spaces, and, rather than being a distraction, nature serves as a source that renews our attention, reinstating cognitive functioning with natural elements that invoke affective response | 15% | % increase in worker productivity |  |  |  | The Netherlands and the U.K | 3 field experiments were conducted in large commercial offices in The Netherlands and the U.K. These examined the impact of lean and “green” offices on subjective perceptions of air quality, concentration, and workplace satisfaction as well as objective measures of productivity. Two studies were longitudinal, examining effects of interventions over subsequent weeks and months. In all 3 experiments enhanced outcomes were observed when offices were enriched by plants. Implications for theory and practice are discussed.
Plants | Indoor plants | Lohr et al. (1996) Interior plants may improve worker productivity and reduce stress in a windowless environment. J. Environ. Hort. 14:97-100. | 1996 | Academic study |  | 12% | % increase in reaction time |  |  |  | Washington, US | Participants' blood pressure and emotions were monitored while completing a simple, timed computer task in the presence or absence of plants. When plants were added to this interior space, the participants were more productive (12% quicker reaction time on the computer task) and less stressed (systolic blood pressure readings lowered by one to four units).
Plants | Indoor plants | Dravigne et al. (2008) The effect of live plants and window views of green spaces on perceptions of job satisfaction. HortSci. 43:183-187. | 2008 | Report |  | 60% of people working in offices without plants, whether they had views of green or not, reported feeling “content” or “very happy,” while 69% of people working in offices with plants but no windows and 82% of those with both plants and window views were “content” or “very happy | n/a |  |  |  | Texas and the Midwest, US | A job satisfaction survey was posted on the Internet and administered to office workers in Texas and the Midwest. The survey included questions regarding job satisfaction, physical work environments, the presence or absence of live interior plants and windows, environmental preferences of the office workers, and demographic information. Approximately 450 completed responses were included in the final sample.
Urban green vegetation |  | Ulrich (2003) Texas A&M Study Shows Flowers Increase Workplace Creativity. Texas A&M Study Shows Flowers Increase Workplace Creativity. | 2003 | Academic study |  | All participants in the office environment with plants demonstrated more innovative thinking. The men generated 15% more ideas overall, while the women generated more creative and flexible solutions. | n/a |  |  |  | Texas, US
Urban green vegetation | View of nature | Elzeyadi et al (2011) Daylighting-Bias and Biophilia: Quantifying the Impacts of Daylight on Occupants Health. In: Thought and Leadership in Green Buildings Research. Greenbuild 2011 Proceedings. Washington, DC: USGBC Press. | 2011 | Report | The potential for building design to cut human resources costs is highlighted by a recent study of an administrative office building at the University of Oregon. | Employees with the views of trees and landscape (north and west) took an average of 57 hours of sick leave per year, compared with 68 hours per year of sick leave taken by employees with no view. | n/a | Unnecessary and avoidable absenteeism | Integrating views to nature into an office space can save over $2,000 per employee |  | US
Urban green vegetation | View of nature | Elzeyadi et al (2011) Daylighting-Bias and Biophilia: Quantifying the Impacts of Daylight on Occupants Health. In: Thought and Leadership in Green Buildings Research. Greenbuild 2011 Proceedings. Washington, DC: USGBC Press. | 2011 | Report | The potential for building design to cut human resources costs is highlighted by a recent study of an administrative office building at the University of Oregon. | The study found the quality of a person’s view to be the primary predictor of absenteeism. | n/a |  |  |  | US
Urban green vegetation | View of nature | Elzeyadi et al (2011) Daylighting-Bias and Biophilia: Quantifying the Impacts of Daylight on Occupants Health. In: Thought and Leadership in Green Buildings Research. Greenbuild 2011 Proceedings. Washington, DC: USGBC Press. | 2011 | Report | The potential for building design to cut human resources costs is highlighted by a recent study of an administrative office building at the University of Oregon. | Employees with better views were likely to spend more time at their desk | n/a |  |  |  | US
Urban green vegetation | View of nature | Elzeyadi et al (2011) Daylighting-Bias and Biophilia: Quantifying the Impacts of Daylight on Occupants Health. In: Thought and Leadership in Green Buildings Research. Greenbuild 2011 Proceedings. Washington, DC: USGBC Press. | 2011 | Report | The potential for building design to cut human resources costs is highlighted by a recent study of an administrative office building at the University of Oregon. | People’s access to natural scenery is significantly correlated to their job satisfaction, health, and productivity. | n/a |  |  |  | US
Urban green vegetation | View of nature | Elzeyadi et al (2011) Daylighting-Bias and Biophilia: Quantifying the Impacts of Daylight on Occupants Health. In: Thought and Leadership in Green Buildings Research. Greenbuild 2011 Proceedings. Washington, DC: USGBC Press. | 2011 | Report | The potential for building design to cut human resources costs is highlighted by a recent study of an administrative office building at the University of Oregon. | When view quality was combined with lighting quality and window area, architectural elements explained 10% of the variation in sick leave days taken. | n/a |  |  |  | US
Plants | Indoor plants | Heschong, (2003) Windows and Offices: A Study of Office Worker Performance and the Indoor Environment. California Energy Commission: Pacific Gas and Electric Company. Fair Oaks, California. Heschong Mahone Group. | 2003 | Report |  | Researchers concluded that those with views of nature handled calls 6-7% faster than those with no views. | n/a |  | $2,990 per employee | Annual productivity savings | California, US